Specification for Garden Design Works at ………
Table of Contents for the Specification

Section   
               Title




      Page No. 

A  -    Preliminaries and general conditions


A1

Description of Project




2

 
A2

The Contract





3

A3

Tendering





5
A4

Management of the Works



6

A5

Quality and safety




7

 

A6

General requirements




8

B  -
Hard landscape

B1

General preamble




9
B2

Excavation and filling




10

B3

Concrete





11
B4

Walling






14
B5

Carpentry





17
B6

Painting





19

B7

Pavings and steps




20

B8

Fencing






24

B9

Site furniture and equipment



25

B10

Drainage





26

B11

Water supply, irrigation and ponds


28

B12

Electrical





29

C  -
Plants and planting

C1

General preamble




31
C2

Seeded lawns and wild flower meadows


32

C3

Turfing






33
C4

Shrubs, herbaceous and ground-cover plants

34

C5

Trees 






36

C6

Work to existing trees and plants


37

Specification for Garden Design Works

This Specification should be read in conjunction with all Contract Documents and the Conditions of the Joint Committee For Landscape Industries (JCLI) Landscape Works Contract.   
A  -   Preliminaries and general conditions
A1
Description of Project





A100
THE PROJECT:

Name of the project: 
................................….

Address of the site: 
.....................................




.....................................

A105
DESCRIPTION OF THE WORKS:  ………………………………………………….
A110
TENDER DOCUMENTS shall consist of:

This specification.

Planting schedule.



 

Tender Drawings:    Nos. ................


A115
EMPLOYER means: 

(Name).............................................………….....

(Address)........................................…………......

(Post Code)................……..   Tel:............……....

A120
DESIGNER / GARDEN DESIGNER /LANDSCAPE ARCHITECT means: 
 

(Name).............................................………….....

(Address)........................................…………......

(Post Code)................……..   Tel:............……....

A125
CONTRACTOR  / LANDSCAPE CONTRACTOR  means the accepted tenderer.

A130
SITE PARTICULARS:  Tenderers are advised to visit the site by prior arrangement with the employer, in order to familiarise themselves with the access, ground conditions and available facilities.

A136
RESTRICTIONS TO CONTRACTOR’S WORKING AREA:    
The area of the site available for use by the contractor is shown on drawing No. ....

A2
The Contract

A201
FORM OF CONTRACT   


The Contract will be The Landscape Works Contract last published by the Joint Committee for Landscape Industries (JCLI LWC).

A206
FORM OF CONTRACT 


The Contract will be in the form of a letter signed by the employer accepting the completed Form of Tender. The Conditions will be those contained in the Landscape Works Contract last published by the Joint Committee for Landscape Industries (JCLI LWC).

A210
CONTRACT DOCUMENTS shall be:

· the Tender Documents listed in clause A110

· the Form of Tender as completed by the accepted tenderer

· the employer's letter of acceptance, if appropriate.

A215
AUTHORITY OF THE DESIGNER  

The contractor shall carry out instructions given to him in writing only by the designer.

A221
SCOPE OF THE CONTRACT  

The tender shall include the cost of all plant, labour, materials and plants necessary to complete the Works by the stated date for completion in Clause A226. 

A226
CONTRACT PARTICULARS

The following list of the Clauses from the JCLI LWC Contract Particulars will apply to this project and are to be  either amended, deleted or completed as shown:

4th Recital and Schedule 2             
Base Date………………..

4th Recital and Clause 4.2            
The employer *is/is not a contractor for the purposes of CIS.

5th Recital



*The CDM Regulations do not apply.

*The CDM Regulations apply but the  project is not notifiable.






*The CDM Regulations apply and the project is notifiable.

Article 7



Article 7 and Schedule 1 (Arbitration)





*apply/do not apply.

Clause 1.1

*The CDM Planning Period shall  mean  ………….*days/weeks.

Clause 2.2



Date for commencement of the Works: …………………..






Date for completion ………………….

Clause 2.8



Liquidated damages at the rate of





£……….  per *day / week.

Clause 2.10A* or 2.10B*

Responsibility for plant establishment  and plant defects to be by 
Contractor* or by Employer*


Clause 2.10A* or 2.10B*

Rectification period ……… months.

Clause 2.13

Provisional Sum to cover theft or malicious damage £……..

Clause 4.3

Percentage of the total value of Works in a progress certificate    …….%

Clause 4.5

Percentage of the total value of Works in the penultimate certificate  …….%

Clause 4.8.1

Final Certificate: period allowed for the supply of documents   ….. months.

Clause 4.11

Contributions, levy and tax changes Clause 4.11 applies / deleted*.

Clause 4.11 / Schedule 2 (para.13)
Percentage addition for fluctuations option ………… %.

Clause 5.3.2
Contractor’s insurance to cover injury to persons or property £ ……………..

Clause 5.4
*5.4A Insurance of the Works shall be by Contractor in joint names


 *5.4B Insurance of the Works and existing Structures shall be by the Employer in joint names.
*5.4C Insurance for the existing structures shall be by the Employer.

Clause 5.4
Percentage to cover professional fees …….. %   

Clause7.2
The Adjudicator is ………… 
A236
PROVISIONAL SUMS:    Allow the following sums to be included in the Tender:   


Provisional sum for  Contingencies


£ ……….


Provisional Sum for: ………………………. ……   
£ ……….

Provisional Sum for: ……………………………..    £ ……….

A245
STATUTORY REGULATIONS


Comply with all statutory requirements which apply to the Works and pay all fees and charges.

A250
TOWN AND COUNTRY PLANNING:

The following structures on site are Grade ….. listed :- 
(state which)………………………as shown on Drawing No.……….

The site… (is/is not)… in a Conservation Area.

Trees on the site …(are/are not)… subject to Tree Preservation Orders.  

Comply with the conditions of Planning Permission Ref:    …… …….

The Party Fence Wall shown on drawing ………  is subject to an Award, the conditions of which must be complied with.

A255
WILDLIFE 


………………………. , a protected species is known to exist on site  ………(location) …… and the contractor is to ensure its protection in accordance with the statutory Nature Conservancy organisation and / or DEFRA licence.
A3
Tendering

A300
TENDERING PROCEDURE  


The Tenderer must submit his Tender in writing in accordance with the procedure in the letter of Invitation to Tender.  

A305
AVAILABILITY OF PLANTS AND MATERIALS


Tenders must be based on plants and materials which will be available when needed.  If plants or materials as specified are not available or it can be anticipated that they will not be available when required,  tenderers must submit a priced schedule of the alternatives which they have incorporated in their tender.
A310
FIXED PRICE


The tender must be for a fixed price. No additional payment will be made for cost fluctuations of any kind.

A315
DISCREPANCIES

All queries regarding the true interpretation of the tender documents should be resolved with the designer before tendering.   

If discrepancies come to light after the acceptance of tender, the information shown on any drawing will take precedence over the specification or schedule. 

A4
Management of the Works




A400 
FOREMAN               


Whenever work is in progress, keep a competent foreman on site to supervise the Works and to take the designer's instructions.

A405
SITE MEETINGS:  Hold site meetings when required by the Designer.

A410
MATERIALS ON SITE  which have been delivered for the Works become the property of the employer when paid for but must remain the responsibility of the contractor until Practical Completion.

A415
ORDERING:

Order goods and materials in good time so that the Works are not delayed.  No extension of contract period will be allowed where delay could reasonably have been avoided by the contractor.

A420
PROGRAMME AND PROGRESS REPORTS  .


Before commencement, provide the designer with a programme of work showing dates for all main operations and the number of staff to be employed daily on the site.

Keep the programme updated and reissued at monthly intervals.

A425
USE OF THE SITE by the contractor shall be solely for carrying out Works described in the Contract.

A430
WORKING HOURS: to be 08.00 to 18.00hrs. Monday to Friday.  No work is to be executed on site outside these hours without specific approval. 

A435
NOISE: to be kept to a minimum at all times.  Portable radios or CD players are not permitted but "Walkman" type personal radios or CD players will be allowed.

A440
CONCURRENT CONTRACTS:
...............................

A445
LIAISON WITH OTHER CONTRACTORS:   Co-operate and liaise with any other contractors on site to ensure that the Works proceed safely and efficiently.

A450
INCOMPETENCE OR MISBEHAVIOUR OF WORKMEN:   the contractor shall comply with any reasonable request of the designer to permanently exclude from the Works any person employed thereon.

A5
Quality and safety


A501
BRITISH STANDARDS AND CODES OF PRACTICE  

Where the Tender Documents do not fully detail the quality of the Works,  comply with current good practice as defined by:-

· BS 4428 ‘Recommendations for general landscape work’ and other relevant British Standards;

· National Plant Specification published by the Horticultural Trades Association; 

· any other Code issued by a relevant Trade organisation.

· all British Standards and other documents referred to in this specification are to be of the edition current at the date of Tender.

A505
PROTECTION


Adequately protect all existing landscape, buildings and public and private roads,  from damage caused by the carrying out of the Works.  Damage is to be made good at the contractor's expense.

A510
CONDITION OF THE SITE


Before work commences, agree with the designer the condition of the site/site access. Make a photographic record if requested.

A515
SAFETY


Comply with the Health and Safety at Work Act.  Before using any substance which may present a hazard, carry out a Risk Assessment and keep the record available on site for inspection.   Ensure safe working methods are used.

A521
CONSTRUCTION (DESIGN AND MANAGEMENT) REGS  (CDM REGS):


Comply with the duties of contractors specified in the CDM Regs.

A525
UNDERGROUND SERVICES


Before starting work locate the exact position of underground services by making all necessary investigations and by using hand digging. No mechanical digging is to take place within 0.5m of gas or electrical services. Follow the guidance issued by the Utility Authority when working close to underground services.

A530
DAMAGED UNDERGROUND OR OVERHEAD SERVICES


If damage is caused to gas or electricity services, act immediately to:

· remove all persons from the vicinity; 

· notify the service Authority by phone and comply with their  

    safety instructions.

A536
STORAGE AND USE OF PLANT AND MATERIALS to be:

· in accordance with the manufacturer’s written recommendations;

· in a position approved by the designer when stored on site.

A540
HERBICIDES AND PESTICIDES: 

· Where appropriate ensure that only firms Certificated under the Food and Environmental Protection Act 1985 carry out application of these chemicals;

· Make a COSHH assessment before use and ensure where appropriate that application of chemicals is made only by individuals with an  NPTC certificate;

· Prevent all unauthorised access to treated areas for at least 24 hours;

· Store chemicals in a locked secure space in their original clearly marked containers.

A6
General requirements





A600
PAYMENT    

At the times or stages specified for payment, the contractor shall submit his claim to the designer and the designer shall  certify in writing the amount due and send a copy to the contractor and the employer.  The amount of the designer's certificate shall be payable by the employer to the contractor within 14 days of the date of the certificate.

A606
PROVISIONAL SUMS

Any  Provisional sums including any Contingency sum shall only

be expended on the written instruction of  the designer.

A610
VALUE ADDED TAX     


All contractor's claims for payment under this contract shall show any VAT due separately and the employer shall pay to the contractor all tax properly charged.  
A615
TEMPORARY WORKS:  provide all necessary secure storage, site toilets and other offices.

A620
SITE CLEANLINESS:  Keep the site clean and tidy at all times.

Remove rubbish from site at least once a week. 

A625
SAMPLES:  

Provide samples and construct sample panels for approval when requested or specified.  Keep approved samples on site for quality control purposes.  Clear away on completion or when requested.

A630
APPROVAL and words derived therefrom shall mean the written approval of the designer.

A635
ALTERNATIVE PRODUCTS: the words ‘or other equal and approved’ shall be taken as following any brand name which is used to define the product required in the Specification or drawings.  

A640
OR OTHER EQUAL AND APPROVED:  shall mean that the contractor is at liberty to propose an alternative similar product which may be approved by the designer and the Contract Sum adjusted as appropriate, but the tender must be based on the product originally specified.

A645
ADVERTISING AND PUBLICITY: obtain approval before displaying any signboard or publishing any article or photograph of the Works.

B -
Hard landscape - Workmanship and materials 

B1
General preamble

B101
SETTING OUT:   

· Provide and use suitable instruments for accurately setting out the Works;

· Make these instruments available to the designer for purposes of checking;

· Clearly define all boundaries between different elements of the design and inform Designer that setting out is ready for inspection before starting any subsequent construction or planting work. 

B105
FIRES are not permitted on site without specific approval.  When permitted, fires must not be within 10m of the drip line of any trees to be retained.

B111
PROTECTIVE FENCING: Before stripping or clearance of the site,  provide, erect and maintain barriers to form Construction Exclusion Zones, using 1.2m high chestnut pale attached to scaffold poles top and bottom, or other approved strong fencing , in positions shown on the drawings and /or as scheduled below:    ……………(schedule) …………. Clear away on completion.

B116
PROTECT TREES TO BE RETAINED 

Within the spread of the crown and any area protected by fencing:-

· do not reduce or increase soil levels; 

· avoid compaction of the soil by plant or the storage of materials; 

· avoid the spillage of toxic materials;

· where excavation is specifically approved, use only trenchless or hand excavation and backfill immediately;

· do not cut roots over 25mm diameter or damage their bark without approval.

B2
Excavation and filling





B200
GROUND WORKS: comply with BS 4428 Code of Practice for general landscape operations and BS 8000 pt.1 Clause 3.1 - 3.3 for excavation and filling.

B205
SITE CLEARANCE: remove to an authorised tip all scrub, undergrowth, roots, weeds, stones larger than 60mm,  concrete,  brick,  tile and other unwanted material.

B210
COMPACTION/DAMAGE BY PLANT:


Do not allow plant to run over spoil heaps.

Minimise compaction by controlling access routes.


All compacted ground or pans to be broken up by subsoiling using a heavy tine ripper appropriate to the type of soil before practical completion.

B215
EXCAVATIONS: give 24 hours notice to the Designer that foundation bottoms will be ready for inspection .   Do not proceed with further work until bottoms have been inspected. 

B220
EXCAVATIONS:  keep free of water.


A trial hole was dug on ………… in the position shown on drawing No. ….. and the level of ground water was noted as ……at that time.

B225
EXISTING TOPSOIL: to be removed from areas of hard landscape and areas to be re-graded.  Keep free of contamination and store in heaps <1m high.

B230
SUB-SOIL  Store clear of top soil in separate heaps.  Soil in excess of requirements or deemed unsuitable for back-filling, to be removed from site.
B235
IMPORTED TOPSOIL to be: 

· medium loam with a pH value to match that on the site;

· stone size to pass a 40mm sieve and stone content to be <10%;

· free of sub-soil, weed seed perennial weed seed stolons, rhizomes or poisonous substances;

· if stored in temporary heaps,  stacked less than 1m high.

B240
SPREAD TOP SOIL to provide the following minimum depths:

· grassed areas 100mm

· shrub areas  400mm

· tree stations  600mm 

· Graded slopes to be of even gradient without puddles and kept 50mm above bordering hard surfaces to allow for settlement..

B245
CONSOLIDATION OF FILL:  Spread and consolidate approved fill in layers not exceeding 200mm deep.  General levels to be within +50mm of design levels.  Finished levels adjacent to hard landscape features and buildings to be +20mm of design levels after settlement.

B3
Concrete and mortar






B301
MATERIALS FOR CONCRETE 

Cement:  CEM 1 class 42.5N   to BS EN 197-1 

Rapid hardening cement:  CEM 1 class 42.5R  to BS EN 197-1 

Sulfate resistant Portland cement (SRPC): class 42.5N or 42.5R to BS 4027

Aggregates: to BS EN 12620 

Coarse aggregate:  20mm nominal max. unless otherwise specified.

Water:  mains drinking water or tested  to BS EN 1008

B305
SITE MIXED CONCRETE PROPORTIONS BY VOLUME:

General purposes: 
1 : 2 : 3   Cement / sand / coarse aggregate  




or        
1 : 4  Cement / all-in aggregate

Foundations in sulfate bearing soils:

1: 2½ : 3½  SRPC /sand /coarse aggregate
or
1 : 5     SRPC / all-in aggregate.




SRPC = Sulfate resisting Portland Cement

Exposed concrete paving:


1 : 1½ : 3½  Cement / sand / coarse aggregate



or
1 : 3½
Cement / all-in aggregate

Fence post backfill:  
1 : 10
Cement / all-in aggregate.

Slump is not to exceed 75mm unless otherwise stated.  

General purposes mix used for bedding and backing curbs or edges of block paving to have <20mm slump.   

B311
READY-MIX CONCRETE DESIGNATED MIXES

Mass concrete and trench fill in non-aggressive soils
GEN 1

Foundations and general work in non-aggressive soils 
GEN 3

Foundations in Class 2 sulfate conditions


FND 2

Foundations in Class 3 sulfate conditions


FND 3

Foundations in Class 4 sulfate conditions


FND 4


House drives, domestic parking and external paving

PAV 1


Haunching to flexible block paving edgings and kerbs
GEN 1

Obtain copy of delivery note and retain on site.

B315   STRIP FOUNDATIONS:

Overlap stepped  foundations at changes of  level by not less than 300mm or twice the change in level which ever is greatest.

Use sulfate resistant cement in soils having a class 2 sulfate content or above.

Back fill over-excavation or soft spots with foundation concrete, not rammed earth.

Minimum excavation depth to be 500mm or to undisturbed ground or as shown on the drawings which ever is deeper.

Minimum foundation concrete thickness to be 150mm
Minimum foundation width 300mm greater than the wall or as shown on the drawings.

B320
CONCRETE DOMESTIC DRIVE


Bay size:   shrinkage joints at not exceeding 4m intervals.


Expansion joints at not exceeding 24m intervals and at all abutting manhole covers, walls and similar obstructions. 


Expansion joint filler: …………….


Granular sub-base to B706;   thickness: ....mm 


Concrete: ......mm thick  to Clauses B301 and 311.   


Edging detail: .......................


Surface finish: .................... 
B325
MIXING AND PLACING CONCRETE

Use a batch mixer of approved type or use a ready-mix supplier who is a member of  the British Ready-mix Concrete Bureau.

Place as soon as practical after mixing and before the initial set takes place.

Compact thoroughly and achieve a level top surface after compaction unless falls are specified.

B330
CONCRETING IN COLD WEATHER


Do not use frozen materials;


Do not lay against frozen formwork or frozen excavations;


Pre-heat aggregate/water to ensure a minimum temp. 5ºC at the time of placing and maintain this temperature for at least 3 days.

B335
CONCRETE CURING


Protect from frost, snow, wind or hot sun by covering all concrete with polythene sheet for a minimum of 7 days.    Do not allow any wheeled traffic on concrete bases or drives for at least 14 days.
B341
MATERIAL FOR MORTAR 

Cement: CEM 1 class 42.5N  to BSEN 197-1 

Sulfate resistant cement (SRPC) to BS 4027: 1991 class 42.5N

Lime: to BS EN 459-1

Sand: soft building sand to BS 882

Store lime and cement in a ventilated dry store clear of the ground.

Mortar plasticisers where specified  to be of the air entraining type to BS EN 934-3.   Use according to the manufacturer's instructions.

B345
MAKING MORTAR

Batch mortar proportions by volume using gauge boxes.

In cold weather pre-heat water and sand. 

Do not mix for longer than 5 minutes after adding water.

B350
MORTAR MIXES  OF CEMENT, LIME AND SAND to be:

· 1 : 1 : 6 or 1 : 2 : 8 for general purposes;

· 1 : ½ : 4 for copings, foundations and work up to 150 above ground level or 1 : ¼ : 3 in very cold weather; 

· mix proportions are for dry sand.  Allow for bulking if damp;

· use SRPC for foundation work in soils with a high sulfate content.

B356
HYDRAULIC LIME MORTAR 


Where lime mortar is specified without the addition of cement, the lime shall be of the hydraulic type to BSEN 459-1 strength grade HL3.5 or HL5 and the sand shall be washed sharp flint or quartz sand containing a good proportion of 3 to 4mm grit.

Mix proportions shall be: ……………..

B360
MIXING HYDRAULIC LIME  MORTAR


Add water to the lime in the drum or paddle mixer and mix to a wet slurry before adding sand.  Add further water as necessary and mix for not less than 15 minutes.

B365
PREMIXED COLOURED LIME / SAND ‘COARSE STUFF’ to be:

Manufactured by …………………..

Colour reference: …………

Mix proportions: ………….

B4
Walling

B401
WALL TIES to be BS EN 845-1 stainless steel or galvanised wire unless otherwise specified.

B405
DAMP PROOF COURSE AT COPING LEVEL to be 2 courses of dpc or engineering bricks to BS 3921 in cement mortar with plasticiser.

B406
DAMP PROOF COURSE UNDER COPINGS to be ……………… high bond type.

B410
DAMP PROOF COURSE AT BASE OF WALLS to be 2 courses of dpc or engineering bricks to BS 3921  in cement mortar.

B416
BRICKWORK FROST RESISTANCE


Bricks up to 2 courses above ground and for the top 2 courses of the wall, to be frost resistant designated FL to BS 3921 Table 3 (or grade F2+S2 to BS EN 771-1).
B420
FACEWORK:

· facework to start not less than 150 below finished level of external paving or soil;

· select bricks which are unchipped on their face;

· mix bricks from separate deliveries to minimise any colour variations;

· where cut edges are exposed to view, use a masonry saw.

B425
LAY BRICKS: 

· frog up on a full bed of mortar to Clauses B341 to B350;

· with vertical joints filled solidly;

· four brick courses per 300mm height;

· face to be plumb unless a batter is specified;

· Courses to be level and perpends to line through vertically;

· Ask for instructions to be issued on site if brickwork is to be built adjacent to or bonded to existing walls.


B430
PROTECTION OF BRICKS AND BRICKWORK: 

· Handle with care to avoid chipping; 


· Stack clear of the ground on level hard-standing;

· Keep stacks covered to protect from rain and to keep clean;

· Cover new brickwork with a board and polythene sheeting to protect from rain and frost;

· Rake out all frost damaged mortar and repoint.

· Do not lay bricks when the temperature is at 6ºC and falling;

· Keep new work clean.

B435
ENGINEERING BRICKWORK for  ……… (location) ………….

Bricks:    to BS 3921,  Engineering Class B

Mortar mix:   cement : lime : sand  1 : ¼ :  3

Bond:     English

Joints:    Flush 

B440
SPECIAL SHAPE BRICKS:

Use standard specials to BS 4729 where appropriate.  

Where specials are not available and cut bricks are required, use machine cutting for  all visible faces.

Work not visible is to be struck off with the trowel as the work proceeds.

B450
WEEPHOLES where specified to be provided at 1200mm centres by leaving perpends free of mortar.   Ensure that each perpend is unobstructed through to free-draining backfill.   

B455
FREE STANDING / RETAINING WALLS  
.


Brick/block manufacturer and type: …… 


Foundation: ........x.........mm,  and to clause B315 unless otherwise specified.

Bond: ...........................         

Joint profile:  ..........................  


Batter: ..... mm per metre height.                           

Damp proof course:  2 courses to BS3921 type: …………

Coping damp proof course: ................ 

Coping: ................ 


Vertical damp proofing to back of retaining wall: ............... 


Drainage system: ......... 


Backfilling: .........................

B460
WALL FOR RENDERING:


Brick or block type:  ……………………


Base dpc:  …….

Coping detail and movement joints as drawing No. ……

Rake brickwork mortar joints to a depth of 10mm.

Blockwork joints to be struck off flush with the trowel.

B466
CEMENT:LIME:SAND RENDERING


Sand:  ‘sharp’ sand to BS1199

Undercoat mix:  ….…..   Thickness: 10mm

Top coat mix:  ………..   Thickness: 8mm

Surface finish: ……….

Allow base coat to cure thoroughly before applying top coat.

Protect both coats from drying out for 3 days minimum with polythene hung in close contact.

Render stop:     
Manufacturer ………….  Ref. ……….

Bellcast drips:  
Manufacturer ………….  Ref. ……….

Movement bead:  
Manufacturer ………….  Ref.  ……..

 B470
COBBLE FACED BRICK OR BLOCK WALLING:

Cobble size: ....… x  ……..

Stone type: ............ 

Mortar for bedding cobbles: ...........  

Backing brick/block type:  ……………..

Wall ties: to clause B401

 at least 150mm long,  set at 450 centres vertically and 900 centres horizontally.

Lacing courses:  …………….

Quoins and piers:  ……………...

B475
LAYING COBBLE  FACINGS:    

Select and position cobble stones to achieve horizontal courses bedded and surrounded in a full layer of mortar.   The orientation of the cobbles is to achieve a consistent  size of exposed cobble after jointing.  

Rake back mortar 25mm from the front face with wooden spatula. Carefully remove mortar stains from the stones and finish mortar joints with a stiff stipple brush when partially set.

B480
KNAPPED (SPLIT) FLINT FACED WALLING

Drawing No.  …………

Flint size: ………
Mortar for bedding flints:  1 : 2 : 8 using white cement.


Facing brick type:  ………….

Backing brick/block type: ………

Wall ties: to clause B401 at least 150mm long set at 450 centres vertically and 900 centres horizontally.

 B485
LAYING KNAPPED FLINT FACINGS:    Lay split faces outermost to form a flush wall surface with a mortar joint round each flint.   The joint is to be a minimum of 5mm wide, slightly recessed and brushed lightly after laying.  Remove all mortar stains from face of flints.

B490
RUBBLE DRY STONE WALLING


Drawing No: …………

Carefully interlock and bond the two faces of the wall using through stones or bonders at the minimum rate of 3 per m².  The faces of the wall shall be battered back at the rate of 35mm per metre height.  Select the largest available stones for ends and corners.  
B491
STONE RUBBLE WALLING:


Drawing Ref:  ………..

Use crushed stone fine aggregate for mortar,  colour matched to approval.  Mortar mix proportions to be: ………………. 

Carefully interlock and bond the two faces of the wall using through stones or bonders at the minimum rate of 1 per m². Select the largest available stones for ends and corners.

B495
REPOINTING BRICKWORK

Where specified cut out old mortar to 15-20mm depth.  Remove dust, dampen joint and neatly repoint in 1 : 2 : 8 mortar with bucket handle joint unless otherwise specified.

B5
Carpentry

B500
STRUCTURAL TIMBER QUALITY  unless otherwise stated to be a minimum of 
Strength Class C16 to BS EN 338 or SC3 to The Building Regulations Part A
B505
TIMBER FOR JOINERY:   the limit for knots, splits,  shakes and other timber defects is to be Class J40 to BS EN 942.

B510
TIMBER TREATMENT   unless otherwise stated, all external timber is to be preservative treated to BS EN 460 for Hazard Class 4 with a desired service life of 15 – 20 years with  ………………….     Provide designer with the plant operator's treatment certificate.

B515
TIMBER DECK BOARDS: to be treated to BS EN 460 for Hazard class 3 with a desired service life of 15 – 20 years with ……….. water repellent preservative treatment.   Provide designer with the plant operator's treatment certificate.

B520
TREATMENT OF CUT ENDS:  As far as possible avoid cutting after treatment and do not place cut ends in ground contact.     Brush treat all cuts with 2 full coats of …………. preservative concentrate to restore protection from rot.

B525
BRACING OF STRUCTURES:  Joints required to be nailed to have a minimum of two nails.   Inform the designer if additional bracing is needed for stability.
 B530
PERGOLA as drawing No. ..........


Foundations:  ......................  

Support shoes: ............................  


Timber species and finish: ............... 


Posts size:  ..........  


Longitudinal members: ...............mm


Cross members: ..............mm


Fixings: .............  

Treatment:  .....................  


Decorative finish:  Type:  ........................   Colour:  .......................  

B535
TIMBER DECK/BOARD WALK as drawing No.  ............


Foundations: ...................


Support shoes:   Hot dip galvanised  to drawing No. ........


Timber species and/or strength grade:  .................


Posts: ..... x .......mm


Longitudinal members (beams): ..............mm


Cross members (joists): ...............mm


Decking: ................mm, fixed to .................. 


Fix boards bark side up using ………….. 

Treatment: to clause B515

Surface finish:  Type ..........  Manufacturer's Colour Ref:  …....

B540
PURPOSE MADE DOORS/GATES:


Drawing No. ...............


Timber species: .................... 


Post material: .....................


Frame jointing: ......................


Boarding: ...................  

Treatment:  ...................


Decorative finish:   Type: ...........................   Colour: ......................

 B545
FIXINGS AND FASTENINGS

All mild steel nails, screws, bolts (including washers), hinges and other ironmongery which is not fully corrosion resistant are to be hot dip galvanised to BS EN 1461.

Damaged galvanising to be touched up with two full coats of …...…. zinc-rich paint to BS 4652 or use low melting point zinc alloy repair rods.  Aluminium components are to be anodised.

B6
Painting







B601
HIGH BUILD WOOD STAIN FINISH:


To be obtained from one only of the following manufacturers: ……………

B605
WOOD PAINT FINISH


To be obtained from one only of the following manufacturers: ……………..

B615
PREPARATION OF TIMBER SURFACES:    to BS 8000-12.


Retreat all cut ends of preservative treated wood before priming;

Rub down to a smooth surface.

Remove sharp arises and clean off all dust.

Fill blemishes and seal resinous knots on timber to be painted. 

B620
PAINT AND EXTERIOR WOOD STAIN APPLICATION:


Apply in accordance with the manufacturer's written instructions.


Do not apply in damp, frost, wind or when full sun may cause faults to develop.


Prime surface with the appropriate primer if required.   

Apply evenly in full coats to produce a uniform depth of colour without brush marks.

Allow adequate drying time between coats.
B7
Pavings and steps





B700
LEVELS: make up levels as necessary with compacted gravel, hoggin, clean broken stone or brick to pass a 75mm ring.

B706
GRANULAR SUB-BASE  for ……………………

to be Type 1 material to clause 804 of The Highway Agency Specification for Highway Works ……mm thick.


Geotextile under layer type: …………..

B710
COMPACT  SUB-BASE in layers not exceeding 150 mm thick with a plate vibrator minimum  mass 100kg. or equivalent mechanical rammer. Apply a blinding if necessary to achieve a smooth, closed surface.

B711
BLINDING to be sand, pea shingle or PFA or similar approved fine material.

B720
RIGID BRICK PAVING for ................... (location)
Brick Manufacturer and Reference: ..........................

Brick size: ..................

Bond pattern:  ……………..

Granular sub-base:   as clause B706.   Thickness:   100mm

Base:  Concrete to Section B3        Base Thickness .......mm

Cement mortar bedding  thickness:  25mm      mix: 1 : 4 with approved plasticiser.

Mortar joint mix: ....................

Joint profile: ........................

Bay size:  ...............

B725
LAYING RIGID BRICK PAVING   


Set out bond to give uniform joint width.


Butter bed and joint faces of bricks and bed firmly on a bed of fresh mortar of plastic consistency.  Tool joints to specified profile and clean off brick surface.


Protect with polythene from weather and traffic for 4 days minimum.

B731
CLAY BRICK/BLOCK FLEXIBLE PAVING for ...........................


Granular sub-base material:    to clause B706.


Sub-base thickness:  .....mm.

Edge restraint:  ............. bedded and haunched in cement mortar 1 : 6

Sand for bedding:  sharp sand to BSEN 12620 laid to 65mm thickness before compaction.


Blocks:  Manufacturer: ............. and type: ............  colour: .............
Block pattern: ……...…………..  
Surface falls:  ....................... 

Joint filling: dry fine graded sand to BS 882 to pass a 1.18mm sieve.
B735
LAYING BRICK / BLOCK FLEXIBLE PAVING   

Ensure the bedding sand is moist enough to form a ball under hand pressure and then screed it to even falls as specified or shown on drawings.    Cut blocks as required to maintain the specified bond using a block splitter.


Lay the blocks tight butted on the sand bedding and compact with a minimum of two passes using a plate vibrator.   Spread a layer of fine sand over the whole area and vibrate again to cause the sand to fill the joints between the blocks.

B740
NATURAL STONE PAVING for  ............................


Stone type and finish  ..............................   .................


Slab size  ........mm x ..........mm       Thickness ......mm


Jointing:  .............................   15mm wide


Granular sub-base:  to clause B706, 100mm thick


Minimum cross fall: ……..


Bedding  ............................


Weed killer ....................

B745
PRECAST CONCRETE SLAB PAVING for  ...................


Slabs to BS 7263


Size:  .......mm  x  ..........mm  x  .....mm

Manufacturer .................................... and Ref:  ...............................


Cutting: use a masonry saw or hydraulic slab splitter.

Sub-base: …..mm thickness to B706.

Cutting:  use a masonry saw or a hydraulic slab splitter

Bedding: …………….

Joints:  .................. 10mm wide


Minimum cross fall:  1 : 80         Weed killer ......................

 B750
SOLID BEDDING OF PAVING SLABS


Bed slabs on a continuous 50mm semi-dry mortar bed 


using cement : sand 1 : 4  or  lime : sand mix 1 : 3


Ensure slabs are at specified level  +6mm and free from rocking and

that the difference in level of adjacent slabs is less than 4mm.

B755
MORTAR DAB BEDDING OF PAVING SLABS


Bed slabs on 5 mortar dabs of cement: sand 1:4 or  

lime: sand mix 1 : 3.


Ensure slabs are at specified level +6mm and free from rocking and that the difference in level between adjacent slabs is less than 4mm.

B760
SEMI-DRY POINTING OF JOINTS 


Brush in semi-dry cement mortar 1: 3. Lightly tap slabs and repeat until joints are solidly filled to the surface.  Lightly tool the surface to consolidate,  then cover with polythene for at least 3 days.

B762
SAND FILLING OF FLEXIBLE PAVING JOINTS  using dry

 fine graded sand to BS EN 12620.  Brush into joints and lightly tap slabs until joints are solidly filled to the surface.

B765
GRANITE/CONCRETE/STONE SETT PAVING for  .....................

Sub-base:  …….mm thick to clause B706.

Pressed into a  100mm thick bed of cement mortar mix 1 :  4 with plasticiser of a consistency suitable for bricklaying.

Pointed:   to Clause B760

B770
COBBLES/PEBBLE PAVING for ..............

Granular Base:  75mm  well consolidated  limestone scalpings, clinker or equal approved.

Bedding: 75mm 1: 2: 4 fine concrete screed using 10mm pea shingle aggregate.

Cobbles:  75mm long, smooth, egg-shaped, of uniform size and colour.

Grout:  dry Rapid Hardening cement and sand 1 : 3 to clause B301.

B771
LAYING AND GROUTING COBBLES


Bed each stone on end  into a screed  in neat,  close butted  rows.  Firm in each  stone with a mallet to half its depth and to level the tops.   Immediately brush in dry grout  leaving 25mm of the stone exposed.  Ensure that final levels allow free surface water drainage. 

Water with a fine spray.  Remove grout stains from the exposed stones within 24 hours.    Protect from rain and all traffic for 4 days

B7767
WEEDKILLER

Apply  ...................  sodium chlorate at the rate of  65 g/m² over the whole of the paved area after completing the reduced level digging.  Where the roots of trees and shrubs may be affected, substitute ……………… weed killer applied in accordance with the manufacturer's written recommendations.

B780
GRAVEL PATHS/DRIVES

Geotextile separating layer: ……………..  to be laid over excavation and turned up at the sides to meet edge board.

Surfacing:  50mm thick graded angular stones, 20mm down to 6mm.

B782
WOODCHIP AND GRAVEL PATHS

Edging board:  25 x 150 larch supported by 50 x 50 larch stakes at 1200 max. centres.

Granular base:  100mm open textured Type 2 or other approved free draining material laid and rolled.  In dry weather water while rolling to improve consolidation.

Surfacing:  ……..………

Thickness of surfacing:  …..mm.

B785
HOGGIN FOR PATHS/DRIVES to be as-dug material consisting of self binding mixture of gravel,  sands and clay,  95% to pass a 20mm sized sieve.  Lay 150mm thick and roll to consolidate.  Submit sample for approval prior to delivery

B790
MACADAM  PAVING FOR PATHS /DRIVES: to BS 4987 with

limestone aggregate.

Geotextile: ……………..

Sub base:  granular material ……mm thick to clause B706 

Base course:  ……mm thick of 20mm sized open textured aggregate.  

Wearing course:   20mm thick,  of 6mm sized medium textured aggregate.

B791
TAR SPRAY AND PEA SHINGLE SURFACE DRESSING to DETR Road Note 39.

Ensure that the surface to be dressed is sound and to the required level. Apply during a period of dry weather with a minimum temperature of 16ºC

B795
EXTERNAL STEPS:  as detailed on Drawing No. ………

Riser material: ............. manufacturer and reference: .......................


Tread material: ............. manufacturer and reference: ....................

Tread shall fall 1 : 60 
towards the nosing for drainage.

Granular sub-base:  150mm thick to clause B706


Concrete materials to clause B301   


Concrete foundation min.150mm thick,  mix 1 : 4  all-in aggregate with 50mm slump.

Mortar for bedding slabs or brickwork:  1: 4 with air entraining plasticiser’

B796
TIMBER RETAINED STEPS: as detailed on Dwg. No.  ……

Riser:  38mm  x  150mm softwood.

String courses:    32mm x 150mm softwood.

Stakes:  50mm x  50mm x 450mm  with splayed top.

Timber treatment: to clause B510.

Granular fill: to clause B706 to completely fill behind the risers to give a level top surface blinded if necessary with coarse sharp sand.


B8
Fencing

B800
SET OUT AND ERECT FENCING:

· In straight lines or as shown on the drawing;

· To follow the ground profile.

B805
POST HOLES to be vertical sided.  Hole depth to be a minimum of 500mm deep for fences up to 1.2m high. For fence heights above 1.2m the depth of hole shall be half the height of the fence.

B810
POSTS SET IN CONCRETE to be vertical and rigid.


Post hole’s diameter to be a minimum of  200mm  larger than the post section.   Concrete to be to not leaner than 1 part cement to 10 of graded aggregate max. 20mm size.   Concrete to be well rammed round post and kept 150 below finished soil level.   Complete filling of hole up to finished ground level with rammed topsoil.

B815
POSTS SET IN SOIL to be vertical and rigid.


Holes to be vertical sided and as small as practical in plan to allow for rammed back-fill. Backfill with soil in 3 stages thoroughly consolidated at each stage.

B820
CHESTNUT PALE FENCING:  to BS1722-4


Height: …......m    

Posts:  spaced at 2.25m max. and driven into ground.     


Spacing between pales:  75mm.

B825
CLOSE BOARDED FENCING:  to BS1722-5


Height ….....m      Number and type of rails:  …. No.  ………….

Timber species: …............. Timber finish: ….......

Post material: …............ Post preservation:  to B510

Post spacing:  not exceeding 3m



Method of setting posts:  …................. 


Feather edge boarding: …................mm  

Gravel boards: …....   Gravel boards preservation: to B510

B830
SAWN TIMBER POST AND RAIL FENCING:   to BS1722-7


Height:  …...m  


Joint type:  ….............. 


Number of rails:  … 


Method of setting posts:  ….............. 


Timber species: ……….. 

Post preservation:  to B510

B835
LAP BOARDED PANEL FENCING:  to BS1722 Pt. 11


Height: …....m 


Post material: …................  Post preservation:  to B510


Method of setting posts: ….................... 


Panel type: …......................


Gravel boards:  …...................


Preservation:  ….............. Decorative finish:  …............

B841
RABBIT FENCING


Posts:  75mm diameter treated round wood  1.8m long  with one end pointed and driven 600mm into ground at 3.5m centres.


Braced straining posts: 100mm diameter at not exceeding 70m centres and at all changes of direction.


Galvanised wire netting to BS EN 10223-2; 31mm mesh; 1050mm high;  buried 150mm


Straining wire:  3 No.  3.15mm galvanised wires,  fixed with galvanised staples

Timber preservation: to B510

B845
PURPOSE MADE FENCING for …..................... (location)

Drawing No. …..............


Timber species: ….............


Timber finish: ….......



Post material: …............


Post preservation:  to B510.


Method of setting posts:  ….................


Gravel boards: ….............

B850
FIELD GATE:  to BS 3470.
Manufactured by:  ….........................


Width: …........m.

Gate material: …............ 

Timber: preservation to B510


Post material: …............ 

B855
FIXINGS AND FASTENINGS: to Clause B545

B9
Site furniture and equipment

B10
Drainage


B1001
RUBBLE FILLED SOAKAWAY


Drawing No.  ……..


Volume:  ….. m³  measured below inlet pipe


Excavated depth: ….m.


Filling: granular material to B1005

Vertical Inspection pipe: 150mm with screwed plastic inspection cap


Horizontal distributor pipe:  100mm  to clause B1045


Geotextile filter membrane to bottom, sides and top to B1035

Backfilling above inlet pipe to be as dug soil.

B1005 GRANULAR MATERIAL  FOR SOAKAWAYS:  to be clean crushed concrete, stone, brick, tile or gravel in the size range 130 to 50mm.

B1010
PREFABRICATED SOAKAWAYS:

Manufacturer: ……………………..  Size/Ref: …………….

B1013
SAND SLITS  to be …….mm deep cut with a mechanical slitting wheel  …….mm wide and filled with 10mm shingle and capped with 50mm depth of coarse sand.
B1015
MOLE DRAIN


Mole Channel depth below finished ground:….........mm


Mole Channel spacing:….........mm


Filter drain spacing  …........m 

B1020
FIN DRAIN



Trench:  …....mm minimum depth  x …. mm wide


Porous pipe size:   100mm unless otherwise noted.


Minimum gradient: 1 in 100


Geotextile filter: ………….

Granular backfill:  20mm single sized stones.

B1025
FILTER DRAIN FOR GROUND AND SURFACE WATER


Trench:   ……. Minimum depth x 450 mm wide


Trench spacing: ….............m 


Porous pipe size:  100mm unless otherwise noted


Minimum pipe gradient:  1 : 80


Geotextile filter: …….

Granular backfill:  20mm single sized stones.

B1030
LAYING FILTER DRAINS

Excavate to scheduled depth and width. Line the trench sides and bottom with geotextile filter membrane. 


Lay the drainage pipe on a 50mm bed of pea shingle.  

Backfill the trench with coarse single sized granular material to 300mm below finished level.   Fold the geotextile over the top to enclose the fill.  

Complete the backfilling with further coarse granular material up to 50mm below finished ground level and cap with 40 mm of hard ash.

B1035
GEOTEXTILE FILTER MEMBRANE for drainage work:  …………………..

B1041
CLAY POROUS PIPE LAND DRAINS:  to BS EN 295

B1045
RIGID PLASTIC PERFORATED LAND DRAINS:  to BS 4962

B1050
EXCAVATED MATERIAL:  set aside all true topsoil for re-use.  Remove surplus or unsuitable subsoil from site immediately.

B1055
PVCu DRAIN PIPES FOR SURFACE WATER: to BS  EN 1401-1

B1061 LAY AND PROTECT UNDERGROUND DRAINS:

· to precise line and level on a 50mm bed of pea shingle;

· add pea shingle up to the level of the crown of the pipe after laying;

· protect  shallow drains with additional 50mm of shingle and precast concrete slabs as detailed in the Building Regulations Approved Document H if the crown of the pipe is less than 200mm under terraces, 600mm under lawns and beds and 900 under drives carrying commercial vehicles.

· workmanship shall conform to BS 8000-14

B1066
PLASTIC INSPECTION CHAMBERS: to BS EN 13598-1  

Manufacturer: …....................

B1070
BRICK INSPECTION CHAMBERS to be constructed of Engineering bricks Class B built in cement mortar 1 : 3.

Thickness 225mm in Flemish Bond built off 150mm thick concrete. 

Benching to be cement mortar 1 : 3 sloped smoothly down into the drainage channel.  

B1075
INSPECTION CHAMBER COVERS 

Type:  ……………..

Grade:  …..

Size:  …… x …….mm


B1080
INSPECTION,  CLEANING  AND TEST: 
Check line and gradient of pipes and do not backfill any drain without approval.   

Keep drainage system free of obstruction till hand-over. 

Rod and flush out drains just before hand-over.  

Pressure test drains to 
50mm w.g. if instructed by the designer.

B11
Water supply,  irrigation and ponds

B1100 WATER PUMP AND FILTER SYSTEM


Pump manufacturer and reference:  ….........................................


Filtration system type:  …...........................

Manufacturer and ref:  ……………………

Electrical supply:  as Specification section B12 ..............

B1105
POND LINER to be:  Material: …………..  Thickness ……mm

B1110 POND CONSTRUCTION WITH BUTYL / GRP LINER

Excavate to the dimensions shown on drawing No. …........ and install any sub-pool drainage system shown. 

Consolidate any backfilling thoroughly.

Remove all stones or sharp debris over 40mm in any dimension from surface of excavation.

Blind surface with 50mm of sharp damp sand.

Lay geotextile liner to sides and bottom as per construction drawing.

B1115
LAYING POND LINER:

Lay liner to the excavated contours and form a minimum number of neat tucks with the surplus material to leave the general areas of liner unwrinkled.   

Overlap the pond rim  with the liner by a minimum of 150mm all round.

Slowly fill pond with water adjusting the liner tucks as necessary prior to securing liner at the rim.

On completion of edge detailing, empty pond and remove all debris. Ballast the bottom of liner with 100mm depth of rounded pea shingle before final filling with water.

B1125
PREPARING FERRO-CONCRETE POND LINING

Excavate to required shape avoiding curves with a radius less than 400mm.   Consolidate excavated surface.

Line with galvanised wire mesh with a 20mm mesh size.

Cut and fold mesh sufficient to ensure it lies flat on the excavation.

Tie joints together at 300mm centres with galvanised wire.

Spray the excavation thoroughly to dampen the ground and reduce the absorption of water from the concrete.

B1130 APPLYING FERRO-CONCRETE

Mix 1 part Cement with 1½ - 2 parts sharp sand with plasticiser.

Apply concrete with a firm pressure to force the mix through the mesh.  The minimum finished thickness to be 25mm with 10mm cover over the mesh.

Apply concrete with a wood float in one operation to avoid weakness at day joints in the lining.

B1135 CONCRETE POND CURING:

Completely cover with polythene for 3 days then fill pond with water for a week. Empty and refill pond 3 times at further weekly intervals.


B12
Electrical

B1201 ELECTRICAL WORK shall only be carried out by firms who are:

· registered with the NICEIC or

· approved by the Electrical Contractor’s Association;

· experienced in low voltage external lighting installations.

The design and installation shall be to the latest edition of the IEE Regulations and Part P of the Building Regulations.


B1202
COMPLETION CERTIFICATE

The electrical contractor shall issue an NICEIC test certificate (or shall obtain a Local Authority Building Control equivalent) for all work that is notifiable under Part P of the Building Regulations. 

B1205 UNDERGROUND DUCTING to be

· 50mm diameter PE waste pipe and fittings to BS 5255 for extra low voltage cable;

· 100mm diameter pvc-u ducts for mains voltage cable;

· jointed with solvent welded fittings;
· radius of bends to be not less than 4 times the duct diameter

· minimum depth 450mm below finished ground level; 

· left with draw wire and plugged ends for electrician.

Provide separate ducts for telephone and audio-visual cabling.  Ensure that ducts carrying mains voltage are kept a minimum of 100mm away.

B1210
MAINS VOLTAGE CABLE:  to be pvc/swa/pvc steel wire armoured cables.

When buried, trench to be at least 350 below final ground levels and be marked with warning tape or tiles. Cables buried under paving are to be in ducts.   Temporarily seal the ends of all SWA cables.  A separate core of the cable shall be allocated for earth protection.

B1215
SEPARATED EXTRA LOW VOLTAGE (SELV) CABLE:   unless otherwise approved shall be Heavy Duty Rubber Flexible (type H07) having a minimum cross sectional area of 2.5mm², and be suitable for exterior and buried underground use.  

Alternative cable specifications must meet EU Regulations, must have stranded conductors and be rated to limit the cable voltage drop to 0.6v between the transformer and the furthest fitting.

B1220
SEPARATED EXTRA LOW VOLTAGE (SELV) LIGHTING:

· use twist or crimp connectors to join any supply cable to the leads of the fitting;

· protect junction of the leads with a heat shrunk sleeve;

· route SELV supply cables in positions where they are least likely to be disturbed;

· when routed in trees allow slack for growth and wind movement.

B1225
TREE ROOTS:     Avoid routing underground cables near existing trees.  Where this is unavoidable work to clause B116

B1230
POSITIONING OF WIRING AND EQUIPMENT:   to be as unobtrusive as possible and neatly clipped back.  

Bury or conceal equipment and junction boxes behind hard landscape features or planting where possible.

Above ground wiring,  equipment, transformers and similar items to be coloured to blend with the background.

Above ground cables to be a minimum of 100mm above ground level and be clipped to a permanent and robust construction.

Woven or lap boarded panel fencing is not acceptable as a support structure.

B1235
ABOVE GROUND ENCLOSURES:

All external equipment shall be securely mounted not less than 150mm above adjacent ground level and have cable entry from below. PVC/SWA/PVC cables are to be terminated in an approved shrouded exterior gland incorporating an armour clamping earth ring.

B1240
BELOW GROUND ENCLOSURES: Buried transformers and any other below ground equipment  shall be warranted by their manufacturer as suitable for below ground use.  Use stainless steel glands for cast aluminium components.  Bed components on a bed of pea shingle or coarse sand and ensure adequate drainage is available.

B1245
CIRCUIT PROTECTION:     all circuits which may be used to power fixed external equipment must be protected with a permanent, fixed RCD not of the plug-in or in-line type and a circuit breaker of appropriate type and rating.

B1250
INGRESS PROTECTION: Ingress protection rating shall be not less than IP55.   Seal all glands and blanking plugs with silicon sealant.  Use PTFE tape on all threaded glands.

B1255
TRANSFORMERS:

· provide all transformers with a fuse protection on the primary side and a thermal cut-out unless these are provided as an integral part of the equipment;

· transformers supplying SELV lighting (under 50 volts) shall not power any other equipment;

· all transformers shall provide SELV supply on the secondary side to meet EU Directives.

B1261 EXTERIOR LIGHTING FITTINGS to BS 4533 and BS EN 60598-1

B1265
RATING OF SWITCHES shall be appropriate to the load allowing for inductive loads.

B1270
EXISTING INSTALLATIONS:  do not disturb any existing electrical installation without specific approval.

B1275
AS-INSTALLED DRAWINGS:  on completion provide the employer with:

· plans to show all equipment positions and cabling routes;

· operating and maintenance instructions for all equipment.

C  -
Plants and planting  -  Workmanship and Materials
C1
General preamble

C102
WATER SUPPLY RESTRICTIONS

If the water supply is, or is likely to be restricted, do not carry out planting or seeding until instructed.  If  planting or seeding has been carried out, obtain instructions on watering.

C103
SUPPLY & PLANTING OF TREES & PLANTS shall comply with the 'Code of Practice for Plant Handling' drawn up by the Committee on Plant Supply and Establishment (CPSE).

C105
PLANT LABELING:

All plants delivered to site shall be clearly and durably labeled with exact genus, species, cultivar and supplier. Where plants are grouped one label is to be retained in place on completion of the work.

C110
MAINTENANCE INSTRUCTIONS:


Provide typed calendarised instructions for the maintenance of all planting for a full year and pass to Employer within 1 month of completing the work.

C111  PLANTING FAILURES: all plants including trees,  which fail before Practical Completion  or within any defects liability period stated in Section A2 of this Specification,  shall be replaced with approved equivalent material to match the size of adjacent plants of the same species at the next suitable planting season.

C115
WEED KILLING: 

Where chemical weed killing is specified apply at least 7 days before cultivation.  Use products appropriate to the type of weeds to be killed.

C120
GRASS MAINTENANCE



Apply a selective weed killer the following spring in early April. 


Apply a N15.P5.K5. fertiliser the following spring in late April.

Water using a fine spray whenever required to ensure continuing healthy growth until Practical Completion.

C125
GRASS CUTTING:  when the grass is between 50 and 75mm high, clear the lawn of surface debris.   Make a first cut with a sharp cylinder mower with a fitted grass box to reduce the grass to 25mm.  Dispose of all grass cuttings to an agreed location.   Maintain the grass within these limits by mowing at intervals until Practical Completion.

C130
ROLL lawn after the first cut with a mechanical drum roller weight …....kg

C2
Seeded lawns and meadows


C200
GRADIENTS AND LEVELS:

Conform to the spot heights on drawings and ensure that falls are even without humps or hollows.  Unless otherwise specified final levels after settlement are to be 20mm above any adjacent paving.

C205
PRE-EMERGENT WEEDKILLER:  Before cultivation apply an approved weedkiller unless the ground has been kept fallow and weed  free for a period of 6 months.

C210
PRE-EMERGENT WEEDKILLER:  Before cultivation treat weeds with …………………. according to manufacturer’s recommendations

C215
GROUND PREPARATION FOR LAWNS:

Rotovate areas to be seeded to a minimum depth of 150mm 

Remove all debris exceeding 50mm in any dimension brought to the surface including stones,  vegetation and rubbish.

Ensure 100mm minimum depth of topsoil over all areas.  

Rake and roll the area to produce a firm and level seed bed.

Reduce top 30mm of soil to a fine tilth not exceeding 10mm particles. Obtain approval before seeding the prepared ground.

C220
GROUND PREPARATION FOR WILD FLOWER MEADOWS:

Remove … mm of top soil to reduce fertility and problematic weed seed.

Harrow to reduce remaining soil to a good tilth not exceeding 25mm.

C225 
FERTILISER  


Dress areas to be grass seeded with N7:P7:K7  fertiliser at a rate of  50g/m². and work into the top 30mm of tilth 7 days before sowing/turfing and water in well. 

C230
GRASS SEED with ryegrass for utility areas to be:


………………………………………………………………….

C235
GRASS SEED  for  sunny lawn areas to be one of the following:


…………………………………………………………………..

C240
GRASS SEED for fine lawns in shade to be one of the following: 


…………………………………………………………………… 

C245
TURF EDGING:  

Lay a margin of turf to all edges before seeding, a minimum of 300mm wide.  Turf grass mixture to match the seeding specification.  Marry in the levels and trim turf to line.

C250
SOWING GRASS SEED: 

During suitable weather use a broadcast machine to spread the seed in the quantity specified.   Apply in two equal passes in transverse directions.  Rake in the seed and roll with a lightweight roller.

C3
Turfing

C300
TURF QUALITY  for …………….…to be………………………

· to BS 3969 with weedkiller applied  1 to 3 months before lifting;

· 900 x 300 minimum size x 25mm minimum even thickness.


Supply a representative sample to site for approval before delivery.

C305
DELIVERY to be phased to ensure laying within 48hrs. of lifting.    Stacks not to exceed 1.4m high.

C310
PREPARATION FOR TURFING: 

Remove all weeds, rubbish and stones over 30mm in any dimension.

Cultivate topsoil to a minimum depth of 100mm. 

Reduce top 30mm to a fine tilth and on clay or heavy loam soils work in 50% of coarse sharp sand to produce a 60mm layer.

C315 
FERTILISER:

Dress areas to be turfed with ………… N7:P7:K7  fertiliser at a rate of 50g/m².    Work into the top 30mm of tilth 7 days before turfing and water in well. 

C320
LAYING TURF:

Transport turf over close butted timber planks. 

Lay turf in consecutive rows.

Lay turf from timber planks protecting previously laid turf.

Lay turf close butted breaking the joint in alternate rows.

Use only whole turves at margins.

Consolidate lightly with wooden beaters.

Brush in finely sieved topsoil to fill all joints.

Peg turfs with wooden pegs on slopes exceeding 30º.

Ensure final surface is 20mm above any adjacent hard surface.

C325
TURFING ADJACENT TO OBSTRUCTIONS


Leave a neat 300mm radius of soil round all newly planted trees.


Unless otherwise shown on the drawing, turf right up to existing established trees, walls, fences and similar obstructions,   leaving no soil uncovered.

C330
CUT AND ROLL  lawn after approximately 6 weeks using a sharp cylinder mower and a roller weight   ….....kg.   Spread and brush in a top dressing of fine sieved topsoil and sand 50:50 to fill cracks and depressions.

C335
MAINTENANCE OF NEW TURF:


Apply a N15.P5.K5. fertiliser the following spring in late April. Water using a fine spray whenever required to ensure continuing healthy growth until Practical Completion 

C4
Shrubs, herbaceous, ground-cover and aquatic plants


C400
NURSERY STOCK:  as specified in the National Plant Specification (NPS) published by the Horticultural Trades Association.  Obtained plants from ……………….
C405
PREPARATION FOR PLANTING:


Apply approved weedkiller. 

Rotovate ground and remove stones over 50mm in any dimension. 


Remove existing unwanted plants including their roots.

C410
SOIL CONDITIONING: apply and lightly dig into the surface one of the following:

· well rotted farmyard manure at a rate of 5kg/m².

· concentrated bagged animal manure at the rate of ………k/m

· well rotted leaf-mould or spent mushroom compost at a rate of …kg/m².

C415
FERTILISER:  incorporate bonemeal at the rate of 70gm/m² into the topsoil.

C420
PLANT HANDLING, DELIVERY AND STORAGE:  to be as recommended in the National Plant Specification.  Phase the delivery of plants so that there is only sufficient for planting within 48hrs. of delivery  or,  if necessary,  ensure suitable temporary storage before final planting by heeling in or lining out. 

C426
PREPARATION OF PLANTS:


Remove inorganic containers.  

Check for and reject any damaged, diseased, poorly rooted,  pest infested  or wrongly identified plants.
Carefully prune any minor root damage.    

C430
PLANT :

· in position shown on the drawings or in the absence of drawings  space evenly;

· at the rate specified,  avoiding regimented rows unless specifically shown;

· in holes large enough to allow adequate root spread and tease out congested root balls of container grown plants;

· excavate holes at least 75mm below the root system and a min. 400mm for climbers;

· set plants so that their original soil level matches the new surrounding ground and

· with their best side displayed.

C435
BACKFILLING to be selected existing topsoil. Add 600g/m³ of bonemeal to stimulate root growth.   Any additional imported organic matter should be well mixed with at least an equal quantity of existing soil. The backfill is to be evenly worked round the roots and well heeled in.

C440
IMMEDIATELY AFTER PLANTING:

Lightly prune back any damaged or malformed growth.

Rake soil to an even, fine tilth to the required levels.

C445
BULBS, CORMS AND TUBERS:  to BS 3936 Part 9

C450
PLANT BULBS:

· under plugs of turf when in existing grassed areas;

· grouped at random for naturalised bulbs.

· with the base of bulb at the correct depth for the species and in contact with the soil;

· with fine, stone-free topsoil backfill.

 C455
PLANTING SEASON:


Plant out non-container grown plants only between October and March inclusive unless otherwise agreed. 

Container grown or containerised plants may be planted out at any time of year except when the temperature is below 4ºC on a falling thermometer, in frozen or waterlogged ground or in drought conditions.

C460
WATERING:


Saturate the root ball of container grown plants before planting.

Thoroughly water plants immediately after planting and again before mulching.

C465
MULCHING:


Fork soil to a medium tilth in the areas to be mulched.  Apply 75mm of mulch with mature and coarse wood or bark chips before Practical Completion.

C470
POLYTHENE CRATES FOR AQUATIC PLANTS:

Provide sufficient crates of appropriate size to accommodate all pond and marginal plants as scheduled or shown on the drawing.

Crates to be of the fine hole pattern without liners;

Use rotted turf or good topsoil free of fertiliser, manure or herbicide to fill the crates 75% full.  

After planting apply a 25mm layer of washed pea shingle with a neutral pH to retain the soil in place.

C475
WATER LILY PLANTING:

Remove all mature leaves and trim roots with a sharp pruning knife before planting.

Temporarily support newly planted crates on bricks to give 75mm to 150mm of water over the top of the crate until established.

C5
Trees







C501
TREE QUALITY, SIZE AND TYPE:  to the National Plant Specification with size as noted on drawing or schedule.   
 
C505
TREE STAKES:  75mm minimum diameter,  free of bark, with one end pointed.

C510
STAKING FOR TREES UP TO ‘STANDARD’ SIZE.   Drive stake upright 450mm into bottom of excavated planting pit close to the tree stem on the windward side.  Cut off at one-third the height of the tree and secure tree with approved ties and spacers at the top of the stake.  
C515
UNDER/OVER GROUND GUYING to be provided for the following trees: …………….

C520
PLANT TREES:

· upright and  in exact positions shown on the drawings;

· in holes large enough to allow adequate root spread;

· so that their original soil level matches the new surrounding ground;

· so that the original orientation is maintained.

Excavate holes at least 75mm below the root system  and loosen soil in base of hole.

For root balled or bare root stock, cut back any damaged roots to sound growth.

C525
TREE  PROTECTION: ……………………………………………

C531
WATERING AND AERATION PIPES:   provide perforated plastic watering pipes in a circle one third down around the root ball.

C535
BACKFILLING to be selected existing topsoil where available. Any imported soil/organic matter should be well mixed with at least equal quantities of existing soil.  The backfill is to be evenly worked round the roots and well heeled in leaving the top slightly proud of the existing level to allow for settlement.

C540
PRUNING:


Immediately after planting carry out light formative  pruning according to species.  Remove damaged or weak growth.

C545
WATERING AND PROTECTION:

Water thoroughly immediately after planting and at intervals as 

necessary until Practical  Completion or until the end of the defects liability period named in the Contract if later.   After the first watering, mulch with 75mm of composted coarse wood or bark chippings over the excavated area.

C550
MAINTENANCE AND REPLACEMENT:

Replace any dead or dying trees at the end of the Defects Liability Period with trees similar to those specified.   In the following year in March or April apply N15:P15:K15 fertiliser round all trees and keep the ground weed free for 1 metre diameter round each tree.

C6
Work to existing trees and plants


C600
CONTRACTOR’S LIABILITY FOR DAMAGE:


Plants damaged by the Works are to be repaired or replaced with equal approved species at the next suitable planting season at the discretion of the Designer and at the Contractor’s cost. Any replaced trees or shrubs shall be maintained by the Contractor for 12 months.

C605
SITE CLEARANCE:


Do not burn vegetation on site without approval.

C610
SUPERVISION OF TREE WORK:


The removal of major branches or felling of trees over 6m high and similar operations shall only be carried out by specialist subcontractors with  £ … million public liability insurance.  

C615
TREE SURGERY:   to be to BS 3998 ‘Recommendations for Tree Work’ unless otherwise agreed.  
C620
BRANCH REMOVAL:

Cut branches sufficiently far from the main stem to leave the branch bark ridge intact. Avoid moisture traps and horizontal surfaces.  Remove heavy branches in sections.  Dead or damaged wood will always be removed whether or not specifically scheduled.

C625
LIFTING THE CROWN:

Remove branches from the main trunk or from main vertical branches so that the space below the canopy is clear up to the specified height.

C630
REDUCING AND SHAPING:


Carefully select and remove branches and prune subsidiary branches so that the height and/or spread  are reduced to the specified dimensions without destroying the shape and character of the species.

C635
TREE REMOVAL  means the complete removal from site of all arisings including stumps and root systems down to 500mm below finished ground level or as otherwise noted on the drawings. 

Backfill any resulting excavation with topsoil.
C640
WOOD CHIPS from stump and brushwood chipping is to be stored on site in an approved location for use by the employer.
PAGE  
26

