CimonX File Menu

The file menu in CimonX is used to handle opening and closing pages or projects created through CimonD. The users can open, close, or close all pages on CimonX as well as launch or terminate projects.

Open

To open a page window, select [File] - [Open] or  icon. Upon selecting this option, users will be prompted to choose a file with '*.pgx' file format. Upon clicking "open" in the file browser, the specified page will be displayed in CimonX.

For this option to be enabled, a project must already be launched in CimonX.

Close

To close a page window, select the desired page and select [File] - [Close] or  icon.

For this option to be enabled, a project must already be launched in CimonX.

  - Close All

To close all page windows that are displayed, select [File] - [Close All] or  icon. Upon selecting the "Close All" option, users will be prompted to confirm the action to close all pages. If [Yes] button is pressed, all displayed page windows will be closed at once. If [No] button is pressed, all displayed page windows will remain on the screen.
Depending on the system performance, this operation may require some time to complete.

For this option to be enabled, a project must already be launched in CimonX.

  - Open Project

To open a project file during CimonX runtime, select [File] - [Open Project] and the user will be prompted to select a project file from the file browser. If a project is already running when the user chooses to open another project, the existing project will be closed automatically and will be replaced with the project that the user has chosen to open.

Only project files with '*.prj" file format can be opened. 
Depending on the system performance, this operation may require some time to complete.

A project which is created in the higher version of CIMON-SCADA cannot be opened in the lower version. In this case, the higher version project can be converted into the lower one at [Convert Project Version] in the CimonD. The default path of the converted project is “C:\CIMON\“SCADA Version ENG”\“Project Folder”\Convert”.

When converting the project version, please be aware of the features that will be removed by the conversion operation.

Please refer to “Project Version Conversion” manual for more information.

Close Project

To close the project during the CimonX runtime, select [File] - [Close Project] to close the currently open project. Depending on the system performance, this operation may require some time to complete.

|  | - The termination of the project may affect the operation of other projects in user’s network, such as Cimon View or Cimon Web. Please inquire of project manager before closing a project in CimonX. |
| --- | --- |

Related Features

This section describes subroutines frequently used for operations of page windows and the project restart. Please refer to the table below for appropriate subroutines. For more detailed information of each subroutine, please refer to the next section.

|  | - When using a subroutine in the script, parentheses should be removed. - When using a subroutine in command expression, it must be used with parentheses. |
| --- | --- |

| Command |  |  | Description |
| --- | --- | --- | --- |
| Start∙Exit Page Window | Subroutine | OpenPage | Displays the specified page during the project runtime. |
|  | Subroutine | ClosePage | Closes the specified page. |
|  | Subroutine | OpenPagePos | Opens the specified page with user-defined width and height values at the desired position. |
|  | Subroutine | ReplacePage | Replaces pages specified by the operator. |
| Project Restart | Subroutine | WarmStart | Restarts the project without terminating CimonX. |

Start∙Exit Page Window

| OpenPage | Displays the specified page during the project runtime. |  |
| --- | --- | --- |
| Subroutine | Command | OpenPage (“Page name”) |
|  | Script | OpenPage “Page name” |
| Description | This command takes the name of the desired page as an input to open the page window. |  |
| Example | Enter the following command to display the“Page1” window. OpenPage (“Page1”) |  |

| ClosePage | Closes the specified page. |  |
| --- | --- | --- |
| Subroutine | Command | ClosePage (“Page name”) |
|  | Script | ClosePage “Page name” |
| Description | This command takes the name of the desired page as an input to close the page window. Entering an asterisk (“*”) instead of “Page name” will close all existing page windows at once. |  |
| Example | Enter the following command to close the “Page1” window. ClosePage (“Page1”) |  |

| OpenPagePos | Opens the specified page with user-defined width and height values at the desired position. |  |
| --- | --- | --- |
| Subroutine | Command | OpenPagePos (“Page name”, “X, Y, Width, Height”) |
|  | Script | OpenPagePos “Page name”, “X, Y, Width, Height” |
| Description | This command is used to open the page of “Page name” at the assigned position (X, Y) with assigned size (Width, Height). |  |
| Example | Enter the following command to display the “Page1” window at coordinates (100, 100) with 400 x 400 size. OpenPagePos (“Page1”, “100, 100, 400, 400”) |  |

| ReplacePage | Replaces pages specified by the operator. |  |
| --- | --- | --- |
| Subroutine | Command | ReplacePage (“Page name 1”, “Page name 2”) |
|  | Script | ReplacePage “Page name 1”, “Page name 2” |
| Description | This command is used to replace “Page name 1“ window with “Page name 2” window. The size and position of the newly loaded page will be the same as those of the page being replaced. If you enter an asterisk (“*”) instead of “Page name 1”, all windows will be closed at once, and the “Page name 2” window will be opened. |  |
| Example | Enter the following command to replace the “Page A” window with “Page B” window. ReplacePage (“Page A”, “Page B”) |  |

    - Project Restart

| WarmStart | Restarts the project without terminating CimonX. |  |
| --- | --- | --- |
| Subroutine | Command | WarmStart() |
|  | Script | WarmStart |
| Description | This command is used to restart the project during the CimonX runtime. The first project that was launched in CimonX will be restarted upon executing this command. |  |
| Example | Enter the following command to restart the project. WarmStart() |  |

Subroutine operates a certain action without any value returned, unlike the functions have return value.