Part Number

PUD09KCH25S-I

Taxonomy Category

Heat Pumps (need tile image)

Product Details

Pacific Ductless Single Zone Heat Pump – Indoor Unit

Class-leading performance

- Houses, offices, holiday homes. Also approved for installation in mobile homes

- Wi-Fi available as an option

- Eligible for most federal and state rebates and grants

- Air conditioning, heating, dehumidifying, ventilation and auto

Item Features

- High wall installation, dual side connection

- Plastic housing, standard white

- 7-speed cross-flow fan (auto, turbo, high, medium-high, medium, low, very low)

- Washable filters

Specs

Voltage:					230/208

Cooling Capacity (Nominal): 		2,667 W : 9,100 BTU/hr

Cooling Capacity (Min-Max):		450-3,150 W : 1,535-10,748 BTU/hr

Heating Capacity (Nominal): 		3,077 W : 10,500 BTU/hr

Heating Capacity (Min-Max): 		1,000-4,300 W : 3,412-14,671 BTU/hr

Air flow volume (cfm):			353 / 323 / 294 / 264 / 235 / 176 / 158

Sound level (dB (A)):			50 / 47 / 45 / 42 / 39 / 36 / 35

Resources

PDFs

Pacific Ductless Single Zone Product Sheet

Pacific Approval Drawing

Pacific Installation Guide - Indoor Unit

Ouellet Heat Pump Accessories

Ouellet Heat Pump Flyer

Link

Ouellet Heat Pump Warranties

Video

Ouellet – Choosing the Right Heat Pump