Using the FFT as an Arbitrary Function Generator
                          Wade Lowdermilk                                     fred harris

                                     BAE                                   San Diego State University

              wade.lowdermilk@baesystems.com             fred.harris@sdsu.edu
Abstract
The inverse fast Fourier transform (IFFT) forms a time series from its spectral description. The time data formed by the IFFT represents a single cycle of a periodic waveform which can be accessed periodically to form an arbitrary length version of the signal. This property is similar to the periodic memory access used by arbitrary function generators. A sequence of windowed, overlapped IFFTs can be used to seamlessly extend the time series to obtain any arbitrary non-periodic time series. This option is not available from traditional arbitrary function generators.       
Introduction

Arbitrary waveform generators, available from many suppliers, permit the user to design and generate any waveform in addition to the standard function generator signals such as sine waves and square waves. These generators form sampled data waveforms off line which are stored in deep digital memory. The content of this memory is presented to a digital-to-analog converter and analog smoothing filter to form the desired analog representation of the arbitrary waveform. Dual output channels are easily formed with a pair of synchronized memory based systems. The time series formed by arbitrary waveform generators are simply periodic extensions of the stored time series. The extension is often likened to a snake biting its tail. Unless care is exercised in forming the initial time series the periodic extension is likely to contain time discontinuities at the frame boundaries. As a consequence of the sampling theorem, a time series formed from the output of an inverse FFT is always periodic and is continuous at the boundaries of its periodic extension. Arbitrary, non periodic extensions of the time series formed by a sequence of successive IFFTs can also formed without boundary discontinuities. This is accomplished by suppressing the discontinuities with a window and then merging successive time series by the sum of overlapped and windowed time series. Wide dynamic range signals require 75% overlap of the windowed time segments. This is seen to be the inverse of the process called a sliding windowed FFT applied in traditional spectral analysis to analyze time varying spectra. This set of operations for both the analysis process and the synthesis process is illustrated in figure 1.

                   
[image: image1.emf]Input Time Line Output Time Line

   N

Point

  FFT

   N

Point

 IFFT

Successive 

Successive 

Overlapped

Overlapped

Windowed

Windowed

Segments

Segments

Time

Time

Frequency

Frequency

Analysis

Synthesis


Figure 1. Analysis and Synthesis of Arbitrary Time Series by

Succession of Overlapped and Windowed Time Segments

The merging of windowed overlapped inverse transform segments has been used successfully in shaker control systems that form time signals to drive a shaker table from power spectra shaped and adaptively modified in the frequency domain.
Window Design
The first question we address is the structure of the window that will assure artifact free reconstruction of the time series formed by the merging process. We expect the merged overlapped sum of window segments to exhibit a constant envelope. This envelope can be thought as the reconstruction of a DC input signal which has been partitioned and windowed and then reassembled by the merging process. Figure 2 illustrates an example of the incidental envelope scalloping that may occur as a result of the merging operation. 

                  
[image: image2.emf]Artifact of Merged Sum

T


Figure 2. Illustration of Undesired Scalloping Formed by Merging Process
The window can be visualized as a time series formed as the inverse discrete cosine Fourier transform containing a small number of terms. The Hann and Hamming windows are examples of windows formed by two spectral terms as indicated in (1).
                               
[image: image3.wmf]01

2

()cos(),0,1,2,,1

hnaannN

N

p

=-=-

L

                                     (1)

The merged summation for 50% overlap is described in (2) and illustrated in figure 3.
                                      
[image: image4.wmf]()()

2

()()(2)

22

m

N

snhnm

NN

hnhnhn

=-

=+-+-+

å

L

                                   (2)

                 
[image: image5.emf]H(n)

H(n-N/2) H(n-3N/2)

H(n-5N/2)

H(n-7N/2)

H(n-N)

H(n-2N)

H(n-3N)

a

0

a

0

a

0

a

0

2a

0

a

0

a

0

a

0

a

1

a

1

a

1

a

1

a

1

a

1

a

1

a

1

a

1

Artifact Free 

      Sum

   Spectral

Components

        in

 Successive

   Window

   Intervals


Figure 3. Summation of Overlapped Window Components

In figure 3 we show the spectral components of the window terms offset by 100% separately from the spectral component terms offset by 50%. We note that the cosine components of the 50% shifted terms are phase shifted 180 degrees. Due to this phase shift, the cosine terms from the indicated partition sum to zero and the steady state sum is simply twice a0, the DC term.  We note that if the window contained a second harmonic term, as do the Blackman and 3-term Blackman-harris windows, the half interval time delay does not phase shift the second harmonic and the sum of these offset windows would contain a DC component of 2 a0 and a second harmonic term of 2 a2. The surviving harmonic term is the envelope scalloping we must suppress by proper window design. We conclude from this example, that windows with 50% overlap can not contain spectral components which are even harmonics of the fundamental time interval.

Examples of windows containing only odd harmonic spectral components are the Rectangle, Triangle, Hann, and Hamming windows. These windows exhibit limited peak side lobe level of -13, -26, -32, and -44 dB respectively. Windows with deep side lobe levels have a wider main lobe which means they contain additional spectral terms. These additional terms must be cancelled in the merging summation process. If we increase the main lobe width to obtain spectral side lobe levels approximately 100 dB below main lobe level the main lobe width contains five spectral terms (DC and 4 harmonics). The existence of these spectral terms means that we require 75% overlap to suppress their contributions in the merging process. Figures 4 and 5 show the time and spectral response of a Kaiser-Bessel window and of a 4-term Blackman-harris window with 90 dB side lobes. Here we see the envelope scalloping in the reconstruction obtained from the Kaiser window and the spectral artifacts due that scalloping.
                     [image: image6.png]Merged Overlapped Windows

08} ; ]
Zoonj to Show:Scalop Detail
06 : : ]
0.4 == A P T P A R b
02 - 989 b
200 490 600 800 1000 1200
0 | f f f i 1

400

Spectrum of Steady State Merge

h
600 800 1000 1200 1400

PTTTL A TE

05



 
Figure 4. Time and Spectral Response of Merged Kaiser Windows with Residual Scallop 

                      [image: image7.png]Merged Overlapped Windows
T T T

08
06
04
02 P75 60080000 12001400

0 [ i
200 400 600 800 1000 1200 1400 1600

Spectrum of Steady State Merge





Figure 5. Time and Spectral Response of Merged 4-Term Blackman-harris Windows with no Residual Scallop 

Applying the Time Domain Window in the Frequency Domain
The window used in standard spectral analysis is applied multiplicatively in the time domain which is equivalent to applying the window’s transform as a convolution in the frequency domain. This relationship is shown in (3) for the continuous time series and in (4) for the sampled data time series. Remember that the sampled data version of the convolution is circular convolution. 
                                                 
[image: image8.wmf]()()()

()()()

w

w

hthtwt

HHW

www

=×

=*

                                                     (3)
                                        
[image: image9.wmf]()()()

()()();mod(2)

w

w

hnhnwn

HHW

qqqqp

=×

=*

                                            (4)
When the time series is a sampled sinusoid of unbounded extent the spectrum, as shown in (5), is an impulse at the center frequency ( = (0. When the window is applied to the sampled sinusoid its spectrum is convolved with the window’s transform as shown in (6).

                                   
[image: image10.wmf]00

()exp()exp()()

n

Hjnjn

qqqdqq

+¥

=-¥

=-=-

å

                               (5)

                                         
[image: image11.wmf]00

()()()()

w

HWW

qdqqqqq

=-*=-

                                    (6)
When the transform is evaluated by a discrete Fourier transform (DFT) we obtain samples of the continuous periodic function at the sample positions k*2(/N. This is shown in (7).
                                
[image: image12.wmf]1

0

0

1

00

0

22

()()exp()exp()

2

()exp(())()

N

W

n

N

n

Hkwnjknjkn

NN

wnjkkWkk

N

pp

p

-

=

-

=

=-

=--=-

å

å

                           (7)

We also have to address what affect the time shifts of the successive window intervals have on the transform samples. We examine this in (8) where we account for the shifts s of length N/4. We learn here that the transform weights are not only translated to the index of the desired center frequency but that the weights must be spun by the indicated phase shift to account for the time offsets of the windows. This aligns the continuous phase of the windowed time series with the discontinuous phase of the DFT which resets to zero each time it operates.  

                          
[image: image13.wmf]1

0

0

1

00

0

00

22

(,)()exp(())exp()

44

22

exp()()exp(())

4

2

exp()()

4

N

W

n

N

n

NN

Hkswnjknsjkn

NN

jskwnjkk

N

jskWkk

pp

pp

p

-

=

-

=

=+-

=--

=-

å

å

                 (8)
What (8) tells us to do is translate the frequency domain weights of the window to the DFT bin center apply the appropriate phase rotation and then perform the IDFT to obtain the windowed time series. If the bin center corresponds to a DFT index, i.e. if k0 is an integer, the translation simply places the DFT coefficients symmetrically about the desired center frequency as shown in figure 6.   Here we see the spectrum and time series for the options of forming un-windowed and windowed time series. In successive transforms the window weights would acquire the phase shift shown in (8) which for an integer address turn out to be simply multiples of 2(/4.
                           
[image: image14.emf]K=k

0

K=k

0

n

n

Real[H(k)] Real[H(k)]

Real[h(n)] Real[h(n)]

Imag[H(k)]

Imag[H(k)]

Imag[h(n)]

Imag[h(n)]

   N

Point

 IDFT

   N

Point

 IDFT

k

k

Sampled

 Spectral

 Window    Sampled

 Time Domain

    Window


Figure 6. Spectrum and Time Series for the Synthesis of Un-windowed and Windowed Time Series 
When the selected center frequency index is not an integer we have one additional task to perform prior to applying the inverse synthesis processing. In the most general case the index k0 contains an integer part and a fractional part. As a specific example suppose we want to form samples of the sinusoid with frequency 0.1 in a 256 point DFT. This would correspond to a center frequency of 0.1·fs which is centered at index 25.6.  For this specific example the integer part of the index is 25 and the fractional part is 0.6 or alternatively 26 and -0.4 respectively. The position of the translated window spectrum and DFT corresponding to this example is shown in figure 7.

                        
[image: image15.emf]22       23      24       25       26      27       28       29       30

-4        -3       -2        -1        0       +1      +2      +3      +4 

25.6

-0.4

Translated DFT Index

Base Band DFT Index

W(k-k)=W(k-25.6) 0


Figure 7. Window Samples of Base Band Window Translated -0.4 Bins and

of Center Frequency Window Translated 25.6 Bins

To compute the DFT coefficients of the base band window offset by the (k of -0.4 we use the relationship shown in the first 3-line for-loop of the following MATLAB Script, and to apply the proper phase rotation to the successive offset windowed transforms we use the second 3-line for-loop of the same MATLAB script. Readers can form their own MATLAB script for a Blackman-harris window, can access the MATLAB script Window, or can request copies from the authors.
	% call bkharris window

ww=bkharris(16)';
dk=+0.6;
wwf=zeros(1,9);

% DFT h(k+dk)

for kk=-4:4
    

wwf(kk+5)=ww*exp(j*2*pi*(0:15)*(kk-dk)/16)';
end
% add phase spinning to match frequency offset
for nn=1:40
    

f_dat=zeros(1,256);
    

f_dat(26+(-4:4))=wwf*exp(j*2*pi*(25+dk)*(nn-1)/4);
     

dat(nn,:)=16*ifft(f_dat);
end



MATLAB Script for Frequency Offset Window and Phase Rotator For 

Successive Windowed and Overlapped Transforms
The sequence of time series formed by the phase rotated offset window terms of this synthesis process exactly match the sequence of windowed time series formed by windowing the original time sinusoidal time series of frequency 0.1. Figure 8 shows the initial segment of the time series and the spectrum of the steady state time series formed by this synthesized inverse analysis process. Here we see that spectral artifacts associated with this synthesis process are down 100 dB relative to the full scale signal.  

 [image: image16.png]-100

-120
0

Synthesized Time Series by Merged Overlapped Transforms

150

200

250

300

Spectrum of Merged Overlapped Transforms
T T T

350

5

04

04




[image: image17.wmf]
Figure 8. Time Series and Spectrum Formed by 
Merging Windowed and Overlapped Synthesized Time Series  

Conclusion
We have described a technique permitting the synthesis of one or more complex sinusoids of arbitrary frequency using windowed inverse DFTs. At first glance, only sinusoids with integer number of cycles per interval can be synthesized exactly by spectral descriptions of the sinusoid. The time domain discontinuity of sinusoids with non-integer number of cycles causes spectral leakage to all frequency bins of the DFT. Windows applied as spectral convolutions suppress the time domain discontinuity and permit compact spectral descriptions sinusoids of the arbitrary frequency. By proper selection of the window, the merging by summation of overlapped time intervals forms time series with processing artifacts suppressed by approximately 100 dB. Any signal formed as a discrete set of arbitrary center frequency sinusoids can be formed in this manner. This method can also be used to form sinusoids with slowly time varying center frequencies.
References

f.j. harris, “Windows Harmonic Analysis and the Discrete Fourier Transform”, IEEE Proceedings, Jan 1978.
Rest To be supplied!

_1179414477.unknown

_1179430538.unknown

_1179430964.unknown

_1179436418.unknown

_1179444564.unknown

_1179433938.unknown

_1179430693.unknown

_1179428978.unknown

_1179429693.unknown

_1179429243.unknown

_1179417084.unknown

_1179413285.unknown

_1179413952.unknown

_1179411016.unknown

