GUIDE SPECIFICATION

CERACLAD® Rain Screen Fiber Cement Siding System

Specifier Note: The purpose of this guide specification is to assist the specifier in correctly specifying high-performance Rain Screen Fiber Cement Siding. The specifier needs to edit these guide specifications to fit the needs of each specific project.

KMEW or its representatives are not licensed architecture or engineering professionals and do not represent that any of the information provided herein is being provided by a licensed architect or engineering professional.

Areas specifically highlighted in yellow indicate selections that must be made between two or more choices during the specification process.

SECTION 074646 – FIBER CEMENT SIDING

PART 1 – GENERAL

  - RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, when applicable, apply to this section.

  - SUMMARY

- Section includes:

  - Fiber cement siding protected with photocatalytic and ceramic coating applied at the manufacturing facility as part of the manufacturing process.

  - ZAM® coated panel clip system.

  - Galvanized Steel Starter Bar.

  - ZAM® coated Metal Caulking Joiner with bond breaker tape, or

  - L-Joiner aluminum extrusions (caulk free joint).

  - Stainless Steel Fasteners.

  - Low Modulus Sealant.

  - Edge Sealer.

  - Touch Up paint.

- Demolition debris and construction waste disposal is the Contractor’s responsibility.  Comply with applicable Federal, State and Local Regulations.

- Related Requirements:

  - Section 060000 – Wood, Plastics, and Composites

  - Section 072000 – Thermal Protection

  - Section 079000 – Joint Protection

  - REFERENCES

- Referenced Standards: These Standards and Reports form part of this specification only to the extent they are referenced as specification requirements.

  - ASTM C 1186 – Standard Specification for Flat Fiber Cement Sheets.

  - ICC Evaluation Services Inc. Evaluation Report ESR-1627.

  - PS 1 – Construction and Industrial Plywood

  - SUBMITTALS

- Product Data: For each type of product.

- Samples for Verification: For the following products:

- Fiber Cement Siding Panel in color selected by Architect.

- Manufacturer Warranty Sheet.

- Product Test Reports: For Fiber Cement Siding, tests performed by manufacturer and witnessed by a qualified testing agency.

- Research / Evaluation Reports: For components of cladding system from ICC-ES.

- Maintenance Data:  For cladding system to include maintenance requirements.

  - QUALITY ASSURANCE

- Product Performance Requirements: Fiber Cement Siding panels shall meet the typical properties:

  - Thickness 16 mm +/- 0.6 mm

  - Length 3030 mm +/- 1.0 mm

  - Width 455 mm +/- 0.5 mm

- Mock-up:  At Owner’s expense, provide a complete system sample of specified size using workmen, equipment and techniques proposed for use on the project.  The completed mock-up shall become the standard of comparison for finished work for the project.

- Workmanship shall be adequate quality to meet project specifications determined by Owner.

  - DELIVERY. STORAGE, AND HANDLING

- Deliver manufactured materials in original unopened packages or containers, with manufacturer’s labels intact and legible.

- Protect materials from damage.

- Store siding panels horizontally and under cover.  Keep siding panels dry and off the ground prior to installation to avoid moisture conditions that could affect the quality of work.  Siding panels are not to be stacked more than 2 pallets high.

- Carry panels at mid span and on edge for ease of handling and to avoid breakage.

- Siding panels contain silica.  When drilling, cutting, or abrading siding panels during installation or handling, observe the following precautions:

  - Work Outdoors when feasible or in well-ventilated indoor space.

  - Wear a dust mask or use a respirator.

  - Warn other workers and building occupants in the area.

  - Advise building occupants to close windows in the immediate area of work.

  - WARRANTY

- Product Performance:  30 YEAR LIMITED WARRANTY – The Product shall not incur structural cracking, rot or delaminate under normal use and wear and shall resist damage caused by termites for a period of 30 years under normal use.

- Triple Coating:  20 YEAR LIMITED WARRANTY – The Ceramic Product finish shall retain its color and luster and shall not significantly peel, incur structural cracking or chip for a period of 20 years under normal use.

  - Color fade shall not exceed color No. 2-3 and E=4.8 in accordance with ISO 105-A02:1990 – Test for color fastness, Part A02: Grey scale for assessing change in color for color integrity.

- See Warranty Sheet for full product warranty details.

END OF SECTION

PART 2 – PRODUCTS

2.01	MANUFACTURERS

- Manufacturers: Subject to compliance with requirements, provide products by the following:

  - Basis of Design: KMEW USA Inc., 8461 154th Ave NE, Building G, Suite 100 Redmond WA 98052 http://CERACLAD.com /.

  - Primary Contact:  Ron Loyd – National Sales Director

  - Email:  ron.loyd@ceraclad.com

- Substitutions: Not Permitted

  - PEROFRMANCE REQUIREMENTS

- General Performance: Installed Fiber Cement Siding shall withstand exposure to weather and normal use without failure due to defective manufacture.

  - Factory applied proprietary 3-coat finish:

    - Acrylic paint base color coat

    - Ceramic UV protectant finish

    - Photocatalytic self-cleaning finish

  - Combustion Characteristics:  Fiber cement siding shall be classified noncombustible according to CAN/ULC-S114 – Standard Method of Test for the Determination of Non-Combustibility in Building Materials.

  - Flame Spread Characteristics:  Fiber cement siding shall be classified “A” according to ASTM E84 – Standard Test Method for Surface Buring Characteristics.

    - Flame Spread:  0

    - Smoke Developed:  0

  - Wind Loaded Strength Characteristics:  Fiber cement siding system shall resist wind load pressures in accordance with testing conducted per ASTM E330 – Standard Test Method for Structural Performance of Exterior Building Products by Uniform Static Pressure.

  - Ignition Characteristics:  Fiber cement siding system shall not ignite when tested according to NFPA 268 – Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Energy Source.

  - Weathering and Color Fastness:  Fiber cement siding system color fade shall not exceed color No. 2-3 and E=4.8 in accordance with ISO 105-A02:1990, Test for Color Fastness – Part A02; Grey scale for assessing change in color.

2.03	FIBER CEMENT SIDING MATERIAL

    - Blend of Portland Cement, Wood Fiber and Lightweight Materials and Recycled Materials including Fly Ash, extruded into panels and pre-finished for installation in a Rainscreen Exterior Siding System suitable for new construction and renovation applications.

- Profile: [Cashmere Smooth] [Zen Garden] [8 Reveal] [Urban Cedar] [Rustic Wood] [Antique Sawn] [Elements] [Sho Sugi Ban] [Barnwood] [Board Formed Concrete] [Cast Strip] [Strahl] [Fiotto] [Mosaic Tile] [Gridline] [Modern Stripe] [Antique Brick] [Modern Brick] [Granite]; CERACLAD® by KMEW.

- Color:  [To be selected by Architect from Manufacturer’s standard color selection by profile.] [To be selected from Manufacturer’s CREATIV™ Color Swatch.]

- Recycled Content:  Minimum 44%

- VOC:  Zero Emissions.

  - AUXILIARY INSTALLATION MATERIALS

    - General: Auxiliary installation materials recommended by fiber cement siding manufacturer for intended use and compatible with Rainscreen Exterior Siding System.

    - Starter Bar:  CERACLAD® Galvanized [Horizontal] [Vertical] Starter Bar by KMEW.

      - Horizontal Panel Orientation:  SKU B101152 – 1-1/4” H x 10’ L x 9/16” D

      - Vertical Panel Orientation:  SKU 10157HG – 1-7/16” W x 10’ L x 1-7/16” D

        - Vertical Starter Bar Corner Connector Piece:  SKU B291W1D – ¾” W x 7-1/4” L

    - Panel and Corner Clip (15 mm):  CERACLAD® ZAM® coated Clip by KMEW

      - Standard Panel Clip: SKU B10115

      - Long Panel Clip: SKU B10155

      - Corner Clip: SKU B101153

    - Panel Joint Options: CERACLAD® Joint System by KMEW

      - Caulk Free Joint (BEST): CERACLAD® Caulk Free Joiner System by KMEW

        - L-Joiner:  .9” W x 10’ L x 1-1/4” D

          - Clear Anodized: SKU CCL1250C

          - Custom Color: SKU CCL1250CF-XXXX

          - White: SKU CCL1250WH

          - Black: SKU CCL1250BL

      - Metal Trim Joint Cover (BETTER):  Extruded Aluminum “H” Mold by KMEW

        - 1 Piece H Mold Clear Anodized: SKU CCHVERT1250C

        - 1 Piece H Mold Custom Color: SKU CCHVERT1250CF-XXXX

        - 1 Piece H Mold Primed: SKU CCHVERT1250PR

        - 1 Piece H Mold White: SKU CCHVERT1250WH

        - 1 Piece H Mold Black: SKU CCHVERT1250BL

        - 2 Piece H Mold Clear Anodized: SKU CC2PVH1250C

        - 2 Piece H Mold Custom Color:  SKU CC2PVH1250CF-XXXX

        - 2 Piece H Mold Primed: SKU CC2PVH1250PR

        - 2 Piece H Mold White: SKU CC2PVH1250WH

        - 2 Piece H Mold Black: SKU CC2PVH1250BL

      - Caulk Joint (GOOD): CERACLAD® Caulk Joiner System by KMEW

        - Horizontal Caulking Joiner Double Flange (15mm):  SKU B2722 – 1-15/16” W x 10’ L x 13/16” D

        - Horizontal Caulking Joiner Single Flange (15mm):  SKU B2719K – 2-1/8” W x 10’ L x ¾” D

        - Vertical Caulking Joiner (15mm):  SKU B2713K – 2-1/8” W x 10’ L x ¼” D

      - Caulk Free Joint for Staggered Panel Layouts (BEST):  CERACLAD® Gasket Joiner System by KMEW

        - Gasket Joiner for Single Stack (15mm):  SKU B371F4 – 3-1/4” W x 19-3/8” L x 1” D

        - Gasket Joiner for Double Stack (15mm):  SKU B3721F4 – 3-1/4” W x 37-3/16” L x 1” D

        - Gasket Joiner for Triple Stack (15mm):  SKU B3731F4 – 3-1/4” W x 55-1/8” L x 1” D

    - Corner Siding:

      - Matching Fiber Cement Outside Corner (BEST)

  - CERACLAD® [18”] [10’] Corner Siding by KMEW.

      - Extruded Aluminum Outside Corner (GOOD)

        - 1 Piece “Arrow” Corner Clear Anodized:  SKU CCINTOC1250C

        - 1 Piece “Arrow” Corner Custom Color:  SKU CCINTOC1250CF-XXXX

        - 1 Piece “Arrow” Corner Primed:  SKU CCINTOC1250PR

        - 1 Piece “Arrow” Corner White:  SKU CCINTOC1250WH

        - 1 Piece “Arrow” Corner Black:  SKU CCINTOC1250BL

        - 2 Piece “Arrow” Corner Clear Anodized:  SKU CC2PCOR1250C

        - 2 Piece “Arrow” Corner Custom Color:  SKU CC2PCOR1250CF-XXXX

        - 2 Piece “Arrow” Corner Primed:  SKU CC2PCOR1250PR

        - 2 Piece “Arrow” Corner White:  SKU CC2PCOR1250WH

        - 2 Piece “Arrow” Corner Black:  SKU CC2PCOR1250BL

        - “X” Corner Clear Anodized:  SKU CCPXM125075C

        - “X” Corner Custom Color:  SKU CCPXM125075CF-XXXX

        - “X” Corner Primed:  SKU CCPXM125075PR

        - “X” Corner White:  SKU CCPXM125075WH

        - “X” Corner Black:  SKU CCPXM125075BL

    - Inside Corner (90°) Transition: Manufactured Corner Pieces by KMEW

      - L-Joiner (BEST):  .9” W x 10’ L x 1-1/4” D

        - Clear Anodized: SKU CCL1250C

        - Custom Color: SKU CCL1250CF-XXXX

        - White: SKU CCL1250WH

        - Black: SKU CCL1250BL

      - Extruded Aluminum Inside Corner (GOOD)

        - Inside Corner Clear Anodized: SKU CCINTIC1250C

        - Inside Corner Custom Color: SKU CCINTIC1250CF-XXXX

        - Inside Corner Primed: SKU CCINTIC1250PR

        - Inside Corner White: SKU CCINTIC1250WH

        - Inside Corner Black: SKU CCINTIC1250BL

    - Edge Sealer: SKU LTKBM3103C Liquid Sealer, by KMEW

    - Spacer Block: SKU RY82S15, by KMEW

    - Repair Putty SKU B4901, by KMEW

    - Touch-up Paint: CERACLAD® Matching Touch-up Paint, by KMEW

      - Triple Coated Finish: 3-part kit consisting of primer, acrylic color base and hardener

      - CREATIV: 1-part can consisting of acrylic paint

    - Panel Termination Transition at Openings

      - Caulk Free Joint (BEST): CERACLAD® Caulk Free Joiner System by KMEW

        - L-Joiner:  .9” W x 10’ L x 1-1/4” D

          - Clear Anodized: SKU CCL1250C

          - Custom Color: SKU CCL1250CF-XXXX

          - White: SKU CCL1250WH

          - Black: SKU CCL1250BL

  - Metal Trim Cover (BETTER): Extruded Aluminum J Trim, by KMEW

    - 1 Piece J Trim Clear Anodized: SKU CCJ1250C

    - 1 Piece J Trim Custom Color: SKU CCJ1250CF-XXXX

    - 1 Piece J Trim Primed: SKU CCJ1250PR

    - 1 Piece J Trim White: SKU CCJ1250WH

    - 1 Piece J Trim Black:  SKU CCJ1250BL

    - 2 Piece J Trim Clear Anodized: SKU CC2PCJ1250C

    - 2 Piece J Trim Custom Color: SKU CC2PCJ1250CF-XXXX

    - 2 Piece J Trim Primed: SKU CC2PCJ1250PR

    - 2 Piece J Trim White: SKU CC2PCJ1250WH

    - 2 Piece J Trim Black: SKU CC2PCJ1250BL

  - Caulk Joint (GOOD): CERACLAD® Caulk Joiner System, by KMEW

        - Horizontal Caulking Joiner Double Flange (15mm):  SKU B2722 – 1-15/16” W x 10’ L x 13/16” D

        - Horizontal Caulking Joiner Single Flange (15mm):  SKU B2719K – 2-1/8” W x 10’ L x ¾” D

        - Vertical Caulking Joiner (15mm):  SKU B2713K – 2-1/8” W x 10’ L x ¼” D

    - Decorative Starter Flashing System, by KMEW

      - Base Flashing SKU B2322W1

      - Base Flashing Outside Corner SKU B2322W1D

      - Base Flashing Inside Corner SKU B2322W1C

      - Base Flashing End Cap SKU B2322W1E

    - Decorative Overhang Flashing System, by KMEW

      - Overhang Flashing SKU B243W1

      - Overhang Flashing Outside Corner SKU B243W1D

      - Overhang Flashing Inside Corner SKU B243W1C

      - Overhang Flashing Joint Piece SKU B243W1J

      - Overhang Flashing End Cap SKU B243W1E

    - Through Wall Flashing System, Extruded Aluminum Wall Flashing, by KMEW

      - 1 Piece Through Wall Clear Anodized SKU CCFLASH1500C

      - 1 Piece Through Wall Custom Color SKU CCFLASH1500CF-XXXX

      - 1 Piece Through Wall Primed SKU CCFLASH1500PR

      - 1 Piece Through Wall White SKU CCFLASH1500WH

      - 1 Piece Through Wall Black SKU CCFLASH1500BL

      - 2 Piece Through Wall Clear Anodized SKU CC2PFLASH1500C

      - 2 Piece Through Wall Custom Color SKU CC2PFLASH1500CF-XXXX

      - 2 Piece Through Wall Primed SKU CC2PFLASH1500PR

      - 2 Piece Through Wall White CC2PFLASH1500WH

      - 2 Piece Through Wall Black CC2PFLASH1500BL

    - Fasteners for Clips, Starter Bars and Joiners, by KMEW

      - Screws for Wood (SS) 1-3/8” SKU B881135

      - Screws for Wood Long (SS) 2-3/16” SKU B88553

      - Screws for Steel Furring (SS) 5/8” SKU B885116

      - Screws for Steel Studs (SS) 1-3/16” SKU B885130

    - Fasteners for Face Fastening Panels, by KMEW

      - Face Nails for Wood (Coated SS) 1-3/4” SKU B8745R400

      - Face Nails for Wood (Coated SS) 2-9/16” SKU B8765R400

      - Face Screws for Steel (SS) 1-3/4” SKU B885245

      - Face Screws for Steel (SS) 2-5/16” SKU B885260

    - Sealant: Low Modulus Silicone Joint Sealant in matching color, locally purchased.

      - Single Component, low modulus silicone.

      - ASTM Specification C 920, Type S, Grade NS, Class 50, or class 100/50, Use NT, M, G and O.

    - Quality Assurance Installation Accessories, by KMEW

      - Saw Blade SKU B49321

      - Cutting Guide SKU B49311

  - SOURCE QUALITY CONTROL

- Single Source Responsibility: Supply panels and accessories as manufactured, distributed or approved for use by KMEW.  No Substitutions Allowed.

END OF SECTION

PART 3 – EXECUTION

3.01	EXAMINATION

- Verify conditions ready to receive work of this Section.  Do not begin work until correction of unsatisfactory conditions.

- Examine substrate to ensure that finished surfaces will be true, level, and plumb without requiring additional steps.  Notify proper authority in writing of discrepancies found in the substrate.  Beginning of installation indicates acceptance of existing conditions.

3.02	PREPARATION

- Substrate:

  - Provide work to make corrections to substrate conditions suitable for installation, and able to withstand normal construction and live loads.

  - Substrate Flatness: 1/16 inch within every 32-inch span.

  - Report and document defects and do not proceed until defects are corrected.

  - Do not install directly to stucco, brick, concrete masonry, tile, or similar substrates.  Wood battens or Z-girts can be used to provide a suitable substrate for attachment.

- Starter Bar:

- Mark a level line for starter bar to end up with approximately ½” ventilation gap between bottom of siding panels and sill flashing.

- Fasten Starter Bar securely along mark with clip screws. Starter bar must fully support first panel.

- Maximum distance between screws must not exceed 16” unless otherwise specified by licensed structural engineer.

  - INSTALLATION

- General:

  - Install products in accordance with manufacturers’ most recently published installation guidelines, applicable building codes and other laws, rules, regulations, and ordinances.

  - Review all manufacturer installation and maintenance instructions and other applicable documents.

  - CAUTION: Siding panels contain silica.  When drilling, cutting, or abrading siding panels during installation or handling, observe the following precautions:

    - Work outdoors in a well-ventilated area.

    - Wear a dust mask or use a respirator.

    - Warn other workers and building occupants in the area.

    - Advise building occupants to close windows in the immediate area of work.

- First Panel Installation:

  - Horizontal Orientation:

    - Begin installing the first horizontal siding panel by seating the bottom concealed ship-lapped edge of the panel squarely on the grooved lower lip of the horizontal starter bar. Install panel clips to top ship-lapped edge of panel at least every 16” to secure panel to the wall.

  - Vertical Orientation

    - Begin installing first vertical siding panel by working from the left hand inside or outside corner. Seat flat edge of panel on vertical starter bar. Install panel clips to the ship-lapped edge of the panel at least every 16” to secure panel to wall. Always install the first clip as close to the starter bar as possible, and no more than 3” above the starter bar.

- Subsequent Panel Installation:

  - Fit panels tightly together on both horizontal and vertical joints ensuring that panel edges are properly seated in clips.

  - Continue using panel clips on ship-lapped edges of panel as work proceeds along the wall. Correct installation of panels into clips will create desired air cavity which allows for circulation of air. Clip must be attached within 3 inches of any panel end. Fastn clips to studs using one screw per clips. Fasten clips to structural sheathing using 2 screws per clip.

  - Install panels working left to right and bottom to top.

  - Apply sealer to all field cut edges.

  - Apply sealer to all field cut edges and factory edges joined with a Gasket Joiner.

  - Pre-drill panels prior to attaching with face nails or screws.

  - Do not directly fasten any item to panels. Provide blocking behind panel and fasten objects through panels into blocking and building frame. Panels are not structural sheathing.

3.04	MAINTENANCE

- Review technical documentation for detailed instructions on care and maintenance of CERACLAD® fiber cement panels.

3.05	Cleaning

- Wipe off dirt with a cloth dampened with diluted neutral mild detergent. Do not use a solvent, such as thinner, or scrub panels with steel wood pads as this will damage the surface. Do not use a steam cleaner or power washer, which can also damage the surface of the panel.

- If nailed or screwed sections become cracked, replace them with new panels. Alternatively, minor surface cracks may be repaired with Repair Putty. Contact your local CERACLAD® representative.

END OF SECTION