## LTPP_FORM
Laboratory | Advanced Asphalt Technologies, LLC
Lab Code | 5132
Specimen 1 ID | C12C08L06
Thickness, mm | 38
Diameter, mm | 150
Specimen 2 ID | C12C09L06
Thickness, mm | 38
Diameter, mm | 150
Test Temperature, C | 49.9953
Allowable Maximum Rut Depth, mm | 15
Maximum Rut Depth, mm | 8.866
Number of Passes to Maximum Rut Depth | 2350
Creep Slope, mm | 0.0022644
Strip Slope, mm | 0.0058028
Stripping Inflection Point | Yes
Number of Passes at Stripping Inflection Point | 2110.555
Comment
Raw Data File Name | C12C08L06HAM.xlsx

## Analysis
[7 empty] | Franken Model Coefficients |  | Value | Passes | Rut Depth | Index
[6 empty] | A | 0.17608 | Strip Slope | 0.0058028 | 2350 | 8.927 | 86 |  | 2.5626
[6 empty] | B | 0.48356 | Creep Slope | 0.0022644 | 1400 | 5.9286 | 67
[6 empty] | C | 0.0012043 | Strip Inflection |  | 2110.555 | 7.5376
[6 empty] | D | 0.0030081 | Max Rut Depth |  | 2350 | 8.866 | 86
[8 empty] | Intercept |  | 0 | 2.7583
|  | Rows of Data | [5 empty] | Errors^2 | First Deriv | Sec Deriv | Row of min slope | Pass min Slope | First Deriv Post Infl
Pass | Avg Middle 5 Rut Depths | 86 | Plot Pass | Plot Measured Rut depth | Plot Fitted Rut Depth |  | Fitted Rut Depth | 1.5301 |  |  | 67 | 1400
2 | 0 | 1 | 2 | 0 | 0.24619 |  | 0.24619 | 0.060612 | 0.059527 | -0.01537 | 1 | 2 | 0
4 | 0 | 1 | 4 | 0 | 0.34423 |  | 0.34423 | 0.1185 | 0.041616 | -0.0053726 | 1 | 4 | 0
6 | 0.136 | 1 | 6 | 0.136 | 0.4188 |  | 0.4188 | 0.079975 | 0.033754 | -0.002905 | 1 | 6 | 0
8 | 0.136 | 1 | 8 | 0.136 | 0.48131 |  | 0.48131 | 0.11924 | 0.029095 | -0.001878 | 1 | 8 | 0
10 | 0.136 | 1 | 10 | 0.136 | 0.53615 |  | 0.53615 | 0.16012 | 0.025928 | -0.0013388 | 1 | 10 | 0
12 | 0.218 | 1 | 12 | 0.218 | 0.58557 |  | 0.58557 | 0.13511 | 0.023599 | -0.0010154 | 1 | 12 | 0
14 | 0.296 | 1 | 14 | 0.296 | 0.6309 |  | 0.6309 | 0.11216 | 0.021793 | -0.00080377 | 1 | 14 | 0
16 | 0.364 | 1 | 16 | 0.364 | 0.67298 |  | 0.67298 | 0.09547 | 0.020341 | -0.00065643 | 1 | 16 | 0
18 | 0.426 | 1 | 18 | 0.426 | 0.71243 |  | 0.71243 | 0.082041 | 0.019141 | -0.00054906 | 1 | 18 | 0
20 | 0.48 | 1 | 20 | 0.48 | 0.74967 |  | 0.74967 | 0.072722 | 0.018128 | -0.00046798 | 1 | 20 | 0
40 | 0.91 | 1 | 40 | 0.91 | 1.0482 |  | 1.0482 | 0.019108 | 0.012674 | -0.00016357 | 1 | 40 | 0
60 | 1.208 | 1 | 60 | 1.208 | 1.2753 |  | 1.2753 | 0.0045347 | 0.010281 | -8.844e-05 | 1 | 60 | 0
80 | 1.448 | 1 | 80 | 1.448 | 1.4657 |  | 1.4657 | 0.0003148 | 0.0088623 | -5.7167e-05 | 1 | 80 | 0
100 | 1.658 | 1 | 100 | 1.658 | 1.6328 |  | 1.6328 | 0.00063465 | 0.0078985 | -4.0751e-05 | 1 | 100 | 0
120 | 1.832 | 1 | 120 | 1.832 | 1.7834 |  | 1.7834 | 0.0023658 | 0.0071895 | -3.0903e-05 | 1 | 120 | 0
140 | 1.99 | 1 | 140 | 1.99 | 1.9214 |  | 1.9214 | 0.0047003 | 0.00664 | -2.4457e-05 | 1 | 140 | 0
160 | 2.146 | 1 | 160 | 2.146 | 2.0497 |  | 2.0497 | 0.0092784 | 0.0061983 | -1.997e-05 | 1 | 160 | 0
180 | 2.278 | 1 | 180 | 2.278 | 2.1699 |  | 2.1699 | 0.01169 | 0.0058332 | -1.6699e-05 | 1 | 180 | 0
200 | 2.406 | 1 | 200 | 2.406 | 2.2834 |  | 2.2834 | 0.015035 | 0.005525 | -1.423e-05 | 1 | 200 | 0
220 | 2.524 | 1 | 220 | 2.524 | 2.3912 |  | 2.3912 | 0.017644 | 0.0052604 | -1.2311e-05 | 1 | 220 | 0
240 | 2.628 | 1 | 240 | 2.628 | 2.494 |  | 2.494 | 0.01795 | 0.00503 | -1.0785e-05 | 1 | 240 | 0
260 | 2.726 | 1 | 260 | 2.726 | 2.5926 |  | 2.5926 | 0.017809 | 0.004827 | -9.5484e-06 | 1 | 260 | 0
280 | 2.83 | 1 | 280 | 2.83 | 2.6873 |  | 2.6873 | 0.020377 | 0.0046466 | -8.5294e-06 | 1 | 280 | 0
300 | 2.926 | 1 | 300 | 2.926 | 2.7785 |  | 2.7785 | 0.021745 | 0.0044847 | -7.6781e-06 | 1 | 300 | 0
320 | 3.012 | 1 | 320 | 3.012 | 2.8667 |  | 2.8667 | 0.021098 | 0.0043386 | -6.958e-06 | 1 | 320 | 0
340 | 3.092 | 1 | 340 | 3.092 | 2.9522 |  | 2.9522 | 0.019553 | 0.0042057 | -6.3426e-06 | 1 | 340 | 0
360 | 3.172 | 1 | 360 | 3.172 | 3.0351 |  | 3.0351 | 0.018755 | 0.0040843 | -5.8116e-06 | 1 | 360 | 0
380 | 3.252 | 1 | 380 | 3.252 | 3.1156 |  | 3.1156 | 0.018603 | 0.0039728 | -5.3496e-06 | 1 | 380 | 0
400 | 3.322 | 1 | 400 | 3.322 | 3.194 |  | 3.194 | 0.016378 | 0.0038699 | -4.9446e-06 | 1 | 400 | 0
420 | 3.398 | 1 | 420 | 3.398 | 3.2705 |  | 3.2705 | 0.016267 | 0.0037747 | -4.5871e-06 | 1 | 420 | 0
440 | 3.462 | 1 | 440 | 3.462 | 3.3451 |  | 3.3451 | 0.013676 | 0.0036862 | -4.2697e-06 | 1 | 440 | 0
460 | 3.53 | 1 | 460 | 3.53 | 3.4179 |  | 3.4179 | 0.012557 | 0.0036037 | -3.9861e-06 | 1 | 460 | 0
480 | 3.594 | 1 | 480 | 3.594 | 3.4892 |  | 3.4892 | 0.010975 | 0.0035266 | -3.7316e-06 | 1 | 480 | 0
500 | 3.658 | 1 | 500 | 3.658 | 3.559 |  | 3.559 | 0.0097934 | 0.0034543 | -3.5019e-06 | 1 | 500 | 0
520 | 3.718 | 1 | 520 | 3.718 | 3.6274 |  | 3.6274 | 0.0082016 | 0.0033863 | -3.2939e-06 | 1 | 520 | 0
540 | 3.776 | 1 | 540 | 3.776 | 3.6945 |  | 3.6945 | 0.0066393 | 0.0033224 | -3.1045e-06 | 1 | 540 | 0
560 | 3.832 | 1 | 560 | 3.832 | 3.7604 |  | 3.7604 | 0.0051328 | 0.003262 | -2.9315e-06 | 1 | 560 | 0
580 | 3.886 | 1 | 580 | 3.886 | 3.825 |  | 3.825 | 0.0037183 | 0.003205 | -2.7729e-06 | 1 | 580 | 0
600 | 3.946 | 1 | 600 | 3.946 | 3.8886 |  | 3.8886 | 0.0032973 | 0.003151 | -2.627e-06 | 1 | 600 | 0
620 | 4 | 1 | 620 | 4 | 3.9511 |  | 3.9511 | 0.0023929 | 0.0030999 | -2.4922e-06 | 1 | 620 | 0
640 | 4.042 | 1 | 640 | 4.042 | 4.0126 |  | 4.0126 | 0.00086496 | 0.0030513 | -2.3674e-06 | 1 | 640 | 0
660 | 4.098 | 1 | 660 | 4.098 | 4.0731 |  | 4.0731 | 0.00061753 | 0.0030051 | -2.2515e-06 | 1 | 660 | 0
680 | 4.146 | 1 | 680 | 4.146 | 4.1328 |  | 4.1328 | 0.000174 | 0.0029612 | -2.1434e-06 | 1 | 680 | 0
700 | 4.202 | 1 | 700 | 4.202 | 4.1916 |  | 4.1916 | 0.00010793 | 0.0029193 | -2.0423e-06 | 1 | 700 | 0
720 | 4.25 | 1 | 720 | 4.25 | 4.2496 |  | 4.2496 | 1.6373e-07 | 0.0028794 | -1.9476e-06 | 1 | 720 | 0
740 | 4.292 | 1 | 740 | 4.292 | 4.3068 |  | 4.3068 | 0.00021906 | 0.0028414 | -1.8586e-06 | 1 | 740 | 0
760 | 4.34 | 1 | 760 | 4.34 | 4.3633 |  | 4.3633 | 0.00054114 | 0.0028051 | -1.7747e-06 | 1 | 760 | 0
780 | 4.388 | 1 | 780 | 4.388 | 4.419 |  | 4.419 | 0.00096187 | 0.0027704 | -1.6954e-06 | 1 | 780 | 0
800 | 4.438 | 1 | 800 | 4.438 | 4.4741 |  | 4.4741 | 0.0013023 | 0.0027372 | -1.6202e-06 | 1 | 800 | 0
820 | 4.49 | 1 | 820 | 4.49 | 4.5285 |  | 4.5285 | 0.0014832 | 0.0027055 | -1.5487e-06 | 1 | 820 | 0
840 | 4.54 | 1 | 840 | 4.54 | 4.5823 |  | 4.5823 | 0.0017908 | 0.0026753 | -1.4805e-06 | 1 | 840 | 0
860 | 4.586 | 1 | 860 | 4.586 | 4.6355 |  | 4.6355 | 0.0024534 | 0.0026463 | -1.4154e-06 | 1 | 860 | 0
880 | 4.636 | 1 | 880 | 4.636 | 4.6882 |  | 4.6882 | 0.0027226 | 0.0026186 | -1.353e-06 | 1 | 880 | 0
900 | 4.682 | 1 | 900 | 4.682 | 4.7403 |  | 4.7403 | 0.003397 | 0.0025922 | -1.2929e-06 | 1 | 900 | 0
920 | 4.728 | 1 | 920 | 4.728 | 4.7919 |  | 4.7919 | 0.0040797 | 0.0025669 | -1.2351e-06 | 1 | 920 | 0
940 | 4.77 | 1 | 940 | 4.77 | 4.843 |  | 4.843 | 0.0053242 | 0.0025427 | -1.1791e-06 | 1 | 940 | 0
960 | 4.824 | 1 | 960 | 4.824 | 4.8936 |  | 4.8936 | 0.0048428 | 0.0025197 | -1.1249e-06 | 1 | 960 | 0
980 | 4.868 | 1 | 980 | 4.868 | 4.9438 |  | 4.9438 | 0.00574 | 0.0024977 | -1.0721e-06 | 1 | 980 | 0
1000 | 4.908 | 1 | 1000 | 4.908 | 4.9935 |  | 4.9935 | 0.0073114 | 0.0024768 | -1.0206e-06 | 1 | 1000 | 0
1050 | 5.014 | 1 | 1050 | 5.014 | 5.1161 |  | 5.1161 | 0.010429 | 0.0024289 | -8.9624e-07 | 1 | 1050 | 0
1100 | 5.128 | 1 | 1100 | 5.128 | 5.2365 |  | 5.2365 | 0.011772 | 0.0023871 | -7.7609e-07 | 1 | 1100 | 0
1150 | 5.246 | 1 | 1150 | 5.246 | 5.3549 |  | 5.3549 | 0.011867 | 0.0023513 | -6.5769e-07 | 1 | 1150 | 0
1200 | 5.38 | 1 | 1200 | 5.38 | 5.4717 |  | 5.4717 | 0.0084138 | 0.0023214 | -5.3869e-07 | 1 | 1200 | 0
1250 | 5.502 | 1 | 1250 | 5.502 | 5.5872 |  | 5.5872 | 0.0072543 | 0.0022975 | -4.1681e-07 | 1 | 1250 | 0
1300 | 5.622 | 1 | 1300 | 5.622 | 5.7016 |  | 5.7016 | 0.0063324 | 0.0022798 | -2.8974e-07 | 1 | 1300 | 0
1350 | 5.746 | 1 | 1350 | 5.746 | 5.8153 |  | 5.8153 | 0.0047967 | 0.0022686 | -1.5506e-07 | 1 | 1350 | 0
1400 | 5.876 | 1 | 1400 | 5.876 | 5.9286 |  | 5.9286 | 0.0027619 | 0.0022644 | -1.0171e-08 | 1 | 1400 | 0.0022644
1450 | 5.986 | 1 | 1450 | 5.986 | 6.0418 |  | 6.0418 | 0.0031167 | 0.0022678 | 1.4774e-07 | 0 | 0 | 0.0022678
1500 | 6.106 | 1 | 1500 | 6.106 | 6.1555 |  | 6.1555 | 0.0024476 | 0.0022795 | 3.2181e-07 | 0 | 0 | 0.0022795
1550 | 6.222 | 1 | 1550 | 6.222 | 6.2699 |  | 6.2699 | 0.0022971 | 0.0023003 | 5.1552e-07 | 0 | 0 | 0.0023003
1600 | 6.352 | 1 | 1600 | 6.352 | 6.3857 |  | 6.3857 | 0.0011341 | 0.0023314 | 7.3286e-07 | 0 | 0 | 0.0023314
1650 | 6.464 | 1 | 1650 | 6.464 | 6.5033 |  | 6.5033 | 0.0015416 | 0.0023741 | 9.7833e-07 | 0 | 0 | 0.0023741
1700 | 6.616 | 1 | 1700 | 6.616 | 6.6233 |  | 6.6233 | 5.3318e-05 | 0.0024298 | 1.2571e-06 | 0 | 0 | 0.0024298
1750 | 6.748 | 1 | 1750 | 6.748 | 6.7465 |  | 6.7465 | 2.2741e-06 | 0.0025004 | 1.5751e-06 | 0 | 0 | 0.0025004
1800 | 6.898 | 1 | 1800 | 6.898 | 6.8736 |  | 6.8736 | 0.00059393 | 0.0025881 | 1.9392e-06 | 0 | 0 | 0.0025881
1850 | 7.032 | 1 | 1850 | 7.032 | 7.0056 |  | 7.0056 | 0.00069559 | 0.0026953 | 2.3573e-06 | 0 | 0 | 0.0026953
1900 | 7.188 | 1 | 1900 | 7.188 | 7.1435 |  | 7.1435 | 0.0019777 | 0.0028249 | 2.8385e-06 | 0 | 0 | 0.0028249
1950 | 7.342 | 1 | 1950 | 7.342 | 7.2885 |  | 7.2885 | 0.0028576 | 0.0029803 | 3.3934e-06 | 0 | 0 | 0.0029803
2000 | 7.51 | 1 | 2000 | 7.51 | 7.4421 |  | 7.4421 | 0.0046159 | 0.0031656 | 4.0343e-06 | 0 | 0 | 0.0031656
2050 | 7.67 | 1 | 2050 | 7.67 | 7.6057 |  | 7.6057 | 0.0041368 | 0.0033854 | 4.7755e-06 | 0 | 0 | 0.0033854
2100 | 7.836 | 1 | 2100 | 7.836 | 7.7813 |  | 7.7813 | 0.0029957 | 0.0036451 | 5.6334e-06 | 0 | 0 | 0.0036451
2150 | 8.01 | 1 | 2150 | 8.01 | 7.971 |  | 7.971 | 0.0015238 | 0.003951 | 6.6272e-06 | 0 | 0 | 0.003951
2200 | 8.196 | 1 | 2200 | 8.196 | 8.1773 |  | 8.1773 | 0.00035107 | 0.0043105 | 7.7793e-06 | 0 | 0 | 0.0043105
2250 | 8.406 | 1 | 2250 | 8.406 | 8.403 |  | 8.403 | 8.7137e-06 | 0.004732 | 9.1155e-06 | 0 | 0 | 0.004732
2300 | 8.604 | 1 | 2300 | 8.604 | 8.6517 |  | 8.6517 | 0.0022721 | 0.0052256 | 1.0666e-05 | 0 | 0 | 0.0052256
2350 | 8.866 | 1 | 2350 | 8.866 | 8.927 |  | 8.927 | 0.0037211 | 0.0058028 | 1.2465e-05 | 0 | 0 | 0.0058028
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
|  |  | #N/A | #N/A | #N/A | [5 empty] | 0 | 0
Note on I8: Ramon Bonaquist: Use Solver on this Cell

## raw_data
PASS | RUT[mm] | 0.0[mm] | 23.0[mm] | 46.0[mm] | 69.0[mm] | 92.0[mm] | 115.0[mm] | 138.0[mm] | 161.0[mm] | 184.0[mm] | 207.0[mm] | 230.0[mm] | TEMPERATURE[°C]
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1
6 | 0.14 | 0.1 | 0.11 | 0.13 | 0.13 | 0.15 | 0.14 | 0.13 | 0.13 | 0.11 | 0.15 | 0.12 | 50.1
8 | 0.14 | 0.1 | 0.11 | 0.13 | 0.13 | 0.15 | 0.14 | 0.13 | 0.13 | 0.11 | 0.15 | 0.12 | 50.1
10 | 0.14 | 0.1 | 0.11 | 0.13 | 0.13 | 0.15 | 0.14 | 0.13 | 0.13 | 0.11 | 0.15 | 0.12 | 50.1
12 | 0.23 | 0.16 | 0.17 | 0.2 | 0.21 | 0.22 | 0.23 | 0.21 | 0.22 | 0.18 | 0.25 | 0.2 | 50.1
14 | 0.32 | 0.22 | 0.23 | 0.27 | 0.28 | 0.29 | 0.32 | 0.29 | 0.3 | 0.26 | 0.34 | 0.29 | 50.1
16 | 0.39 | 0.26 | 0.29 | 0.34 | 0.34 | 0.35 | 0.39 | 0.37 | 0.37 | 0.33 | 0.41 | 0.34 | 50.1
18 | 0.46 | 0.32 | 0.35 | 0.4 | 0.4 | 0.41 | 0.46 | 0.42 | 0.44 | 0.36 | 0.49 | 0.41 | 50.1
20 | 0.53 | 0.38 | 0.39 | 0.45 | 0.45 | 0.45 | 0.53 | 0.47 | 0.5 | 0.42 | 0.56 | 0.47 | 50.1
40 | 0.94 | 0.75 | 0.78 | 0.85 | 0.83 | 0.79 | 0.94 | 0.98 | 1.01 | 0.79 | 1.12 | 0.98 | 50.1
60 | 1.22 | 1.03 | 1.06 | 1.15 | 1.11 | 1.02 | 1.22 | 1.32 | 1.37 | 1.11 | 1.52 | 1.36 | 50.1
80 | 1.43 | 1.22 | 1.28 | 1.37 | 1.31 | 1.22 | 1.43 | 1.62 | 1.66 | 1.35 | 1.85 | 1.6 | 50.1
100 | 1.62 | 1.34 | 1.43 | 1.54 | 1.49 | 1.39 | 1.62 | 1.87 | 1.92 | 1.56 | 2.1 | 1.75 | 50.1
120 | 1.78 | 1.42 | 1.57 | 1.71 | 1.63 | 1.54 | 1.78 | 2.08 | 2.13 | 1.76 | 2.32 | 1.82 | 50.1
140 | 1.92 | 1.46 | 1.71 | 1.86 | 1.77 | 1.66 | 1.92 | 2.27 | 2.33 | 1.93 | 2.48 | 1.87 | 50.1
160 | 2.06 | 1.47 | 1.82 | 2.01 | 1.92 | 1.81 | 2.06 | 2.44 | 2.5 | 2.1 | 2.64 | 1.9 | 50.1
180 | 2.2 | 1.49 | 1.93 | 2.15 | 2.05 | 1.92 | 2.2 | 2.58 | 2.64 | 2.25 | 2.78 | 1.9 | 50.1
200 | 2.3 | 1.5 | 2.02 | 2.28 | 2.16 | 2.04 | 2.3 | 2.74 | 2.79 | 2.4 | 2.91 | 1.93 | 50.1
220 | 2.45 | 1.51 | 2.11 | 2.4 | 2.28 | 2.13 | 2.45 | 2.86 | 2.9 | 2.55 | 3.02 | 1.94 | 50
240 | 2.52 | 1.55 | 2.19 | 2.51 | 2.37 | 2.24 | 2.52 | 2.98 | 3.03 | 2.66 | 3.13 | 1.94 | 50
260 | 2.61 | 1.54 | 2.24 | 2.61 | 2.47 | 2.32 | 2.61 | 3.09 | 3.14 | 2.8 | 3.23 | 1.94 | 50
280 | 2.73 | 1.54 | 2.3 | 2.71 | 2.57 | 2.4 | 2.73 | 3.2 | 3.25 | 2.93 | 3.32 | 1.92 | 49.9
300 | 2.82 | 1.55 | 2.36 | 2.8 | 2.66 | 2.48 | 2.82 | 3.31 | 3.36 | 3.04 | 3.41 | 1.93 | 49.9
320 | 2.9 | 1.55 | 2.42 | 2.89 | 2.73 | 2.56 | 2.9 | 3.4 | 3.47 | 3.14 | 3.5 | 1.95 | 49.9
340 | 2.96 | 1.57 | 2.47 | 2.97 | 2.8 | 2.63 | 2.96 | 3.5 | 3.57 | 3.25 | 3.58 | 1.93 | 49.9
360 | 3.03 | 1.56 | 2.52 | 3.06 | 2.88 | 2.69 | 3.03 | 3.59 | 3.67 | 3.34 | 3.67 | 1.95 | 49.9
380 | 3.11 | 1.57 | 2.57 | 3.14 | 2.96 | 2.75 | 3.11 | 3.68 | 3.76 | 3.44 | 3.74 | 1.92 | 49.9
400 | 3.17 | 1.58 | 2.61 | 3.21 | 3.01 | 2.81 | 3.17 | 3.76 | 3.86 | 3.53 | 3.82 | 1.96 | 49.9
420 | 3.23 | 1.58 | 2.65 | 3.29 | 3.09 | 2.88 | 3.23 | 3.83 | 3.96 | 3.62 | 3.89 | 1.97 | 49.9
440 | 3.29 | 1.57 | 2.7 | 3.36 | 3.15 | 2.92 | 3.29 | 3.9 | 4.05 | 3.72 | 3.94 | 1.95 | 49.9
460 | 3.35 | 1.58 | 2.74 | 3.43 | 3.22 | 2.97 | 3.35 | 3.98 | 4.13 | 3.82 | 4.01 | 1.99 | 49.9
480 | 3.39 | 1.56 | 2.77 | 3.49 | 3.27 | 3.02 | 3.39 | 4.05 | 4.24 | 3.9 | 4.08 | 2 | 49.9
500 | 3.45 | 1.58 | 2.81 | 3.55 | 3.33 | 3.07 | 3.45 | 4.13 | 4.31 | 3.98 | 4.13 | 2 | 49.9
520 | 3.5 | 1.56 | 2.85 | 3.61 | 3.39 | 3.11 | 3.5 | 4.2 | 4.39 | 4.09 | 4.17 | 2.01 | 49.9
540 | 3.56 | 1.55 | 2.88 | 3.67 | 3.43 | 3.15 | 3.56 | 4.27 | 4.47 | 4.18 | 4.22 | 2.02 | 49.9
560 | 3.6 | 1.57 | 2.92 | 3.73 | 3.48 | 3.19 | 3.6 | 4.34 | 4.55 | 4.25 | 4.28 | 2 | 49.9
580 | 3.65 | 1.56 | 2.96 | 3.79 | 3.53 | 3.22 | 3.65 | 4.41 | 4.62 | 4.33 | 4.33 | 2.02 | 49.9
600 | 3.71 | 1.56 | 2.98 | 3.85 | 3.58 | 3.26 | 3.71 | 4.47 | 4.71 | 4.41 | 4.34 | 2.02 | 49.9
620 | 3.74 | 1.56 | 3.01 | 3.89 | 3.62 | 3.31 | 3.74 | 4.54 | 4.79 | 4.49 | 4.39 | 2.03 | 49.9
640 | 3.75 | 1.56 | 3.04 | 3.94 | 3.66 | 3.34 | 3.75 | 4.61 | 4.85 | 4.56 | 4.42 | 2.01 | 49.9
660 | 3.81 | 1.54 | 3.07 | 4 | 3.71 | 3.37 | 3.81 | 4.67 | 4.93 | 4.64 | 4.45 | 2.03 | 49.9
680 | 3.84 | 1.57 | 3.1 | 4.05 | 3.74 | 3.41 | 3.84 | 4.74 | 5 | 4.71 | 4.46 | 2.03 | 49.9
700 | 3.9 | 1.54 | 3.12 | 4.09 | 3.79 | 3.44 | 3.9 | 4.81 | 5.07 | 4.8 | 4.48 | 2.03 | 49.9
720 | 3.94 | 1.55 | 3.15 | 4.14 | 3.82 | 3.47 | 3.94 | 4.88 | 5.14 | 4.88 | 4.53 | 2.04 | 49.9
740 | 3.96 | 1.55 | 3.16 | 4.18 | 3.85 | 3.51 | 3.96 | 4.94 | 5.2 | 4.96 | 4.55 | 2.02 | 49.9
760 | 4.01 | 1.54 | 3.19 | 4.24 | 3.9 | 3.52 | 4.01 | 5 | 5.27 | 5.05 | 4.54 | 2.02 | 49.9
780 | 4.01 | 1.55 | 3.22 | 4.26 | 3.94 | 3.58 | 4.01 | 5.07 | 5.34 | 5.1 | 4.57 | 2.02 | 49.9
800 | 4.09 | 1.53 | 3.24 | 4.31 | 3.98 | 3.59 | 4.09 | 5.13 | 5.4 | 5.19 | 4.57 | 2.02 | 50
820 | 4.12 | 1.54 | 3.25 | 4.36 | 4.03 | 3.64 | 4.12 | 5.19 | 5.47 | 5.29 | 4.59 | 2.02 | 50
840 | 4.16 | 1.58 | 3.29 | 4.39 | 4.06 | 3.67 | 4.16 | 5.27 | 5.54 | 5.35 | 4.62 | 2 | 50
860 | 4.22 | 1.55 | 3.3 | 4.45 | 4.1 | 3.7 | 4.22 | 5.32 | 5.59 | 5.42 | 4.61 | 2 | 50
880 | 4.25 | 1.55 | 3.32 | 4.49 | 4.14 | 3.74 | 4.25 | 5.38 | 5.67 | 5.5 | 4.59 | 2 | 50
900 | 4.28 | 1.55 | 3.33 | 4.52 | 4.2 | 3.77 | 4.28 | 5.44 | 5.72 | 5.57 | 4.63 | 2 | 50
920 | 4.31 | 1.55 | 3.36 | 4.57 | 4.23 | 3.81 | 4.31 | 5.5 | 5.79 | 5.65 | 4.61 | 2 | 50
940 | 4.35 | 1.53 | 3.37 | 4.61 | 4.26 | 3.83 | 4.35 | 5.56 | 5.85 | 5.72 | 4.64 | 2 | 50
960 | 4.4 | 1.54 | 3.38 | 4.66 | 4.31 | 3.88 | 4.4 | 5.62 | 5.91 | 5.79 | 4.61 | 1.99 | 50
980 | 4.45 | 1.54 | 3.42 | 4.69 | 4.34 | 3.89 | 4.45 | 5.68 | 5.98 | 5.88 | 4.62 | 1.99 | 50
1000 | 4.45 | 1.6 | 3.42 | 4.71 | 4.38 | 3.93 | 4.45 | 5.74 | 6.04 | 5.95 | 4.62 | 1.98 | 50
1050 | 4.52 | 1.54 | 3.41 | 4.81 | 4.46 | 4 | 4.52 | 5.89 | 6.2 | 6.13 | 4.67 | 1.98 | 50.1
1100 | 4.63 | 1.54 | 3.48 | 4.93 | 4.56 | 4.07 | 4.63 | 6.04 | 6.34 | 6.34 | 4.61 | 1.96 | 50.1
1150 | 4.73 | 1.56 | 3.48 | 5.03 | 4.65 | 4.15 | 4.73 | 6.19 | 6.51 | 6.54 | 4.55 | 1.97 | 50.1
1200 | 4.84 | 1.64 | 3.52 | 5.13 | 4.76 | 4.25 | 4.84 | 6.36 | 6.69 | 6.76 | 4.59 | 1.95 | 50.1
1250 | 4.95 | 1.56 | 3.53 | 5.22 | 4.85 | 4.34 | 4.95 | 6.51 | 6.86 | 6.99 | 4.56 | 1.96 | 50.1
1300 | 5.02 | 1.58 | 3.53 | 5.32 | 4.95 | 4.42 | 5.02 | 6.68 | 7.04 | 7.19 | 4.59 | 1.95 | 50.1
1350 | 5.1 | 1.58 | 3.56 | 5.43 | 5.04 | 4.49 | 5.1 | 6.86 | 7.24 | 7.43 | 4.58 | 1.94 | 50.1
1400 | 5.21 | 1.59 | 3.54 | 5.52 | 5.13 | 4.57 | 5.21 | 7.04 | 7.43 | 7.66 | 4.55 | 1.93 | 50.1
1450 | 5.27 | 1.6 | 3.55 | 5.62 | 5.21 | 4.64 | 5.27 | 7.2 | 7.61 | 7.88 | 4.63 | 1.93 | 50.1
1500 | 5.38 | 1.6 | 3.58 | 5.7 | 5.28 | 4.71 | 5.38 | 7.37 | 7.79 | 8.09 | 4.6 | 1.93 | 50.1
1550 | 5.45 | 1.61 | 3.56 | 5.8 | 5.36 | 4.77 | 5.45 | 7.54 | 7.99 | 8.33 | 4.58 | 1.92 | 50.1
1600 | 5.51 | 1.61 | 3.55 | 5.88 | 5.45 | 4.85 | 5.51 | 7.73 | 8.22 | 8.58 | 4.64 | 1.93 | 50.1
1650 | 5.55 | 1.62 | 3.54 | 5.96 | 5.52 | 4.92 | 5.55 | 7.9 | 8.43 | 8.81 | 4.66 | 1.91 | 50.1
1700 | 5.68 | 1.63 | 3.57 | 6.06 | 5.61 | 4.99 | 5.68 | 8.1 | 8.7 | 9.08 | 4.68 | 1.9 | 50
1750 | 5.77 | 1.64 | 3.59 | 6.14 | 5.67 | 5.04 | 5.77 | 8.3 | 8.96 | 9.36 | 4.7 | 1.9 | 50
1800 | 5.85 | 1.64 | 3.59 | 6.23 | 5.76 | 5.12 | 5.85 | 8.53 | 9.23 | 9.63 | 4.7 | 1.9 | 50
1850 | 5.91 | 1.65 | 3.55 | 6.3 | 5.84 | 5.18 | 5.91 | 8.73 | 9.5 | 9.91 | 4.73 | 1.91 | 49.9
1900 | 5.99 | 1.64 | 3.55 | 6.39 | 5.93 | 5.28 | 5.99 | 8.96 | 9.78 | 10.2 | 4.78 | 1.91 | 49.9
1950 | 6.11 | 1.67 | 3.6 | 6.47 | 6.02 | 5.32 | 6.11 | 9.19 | 10.07 | 10.51 | 4.77 | 1.91 | 49.9
2000 | 6.18 | 1.65 | 3.6 | 6.55 | 6.11 | 5.43 | 6.18 | 9.42 | 10.41 | 10.84 | 4.82 | 1.94 | 49.9
2050 | 6.27 | 1.68 | 3.59 | 6.62 | 6.19 | 5.48 | 6.27 | 9.67 | 10.74 | 11.13 | 4.81 | 1.92 | 49.9
2100 | 6.39 | 1.66 | 3.63 | 6.71 | 6.26 | 5.54 | 6.39 | 9.89 | 11.1 | 11.41 | 4.83 | 1.94 | 49.9
2150 | 6.45 | 1.67 | 3.61 | 6.79 | 6.35 | 5.62 | 6.45 | 10.14 | 11.49 | 11.69 | 4.86 | 1.94 | 49.9
2200 | 6.56 | 1.69 | 3.62 | 6.86 | 6.43 | 5.7 | 6.56 | 10.37 | 11.92 | 12.05 | 4.85 | 1.93 | 49.9
2250 | 6.65 | 1.68 | 3.61 | 6.94 | 6.52 | 5.79 | 6.65 | 10.64 | 12.43 | 12.57 | 4.89 | 1.92 | 49.9
2300 | 6.73 | 1.68 | 3.6 | 6.96 | 6.6 | 5.86 | 6.73 | 10.83 | 13 | 13.11 | 4.88 | 1.86 | 49.9
2350 | 6.92 | 1.69 | 3.61 | 7.07 | 6.7 | 5.96 | 6.92 | 11.14 | 13.61 | 13.84 | 4.89 | 1.82 | 50